

**Engineering Services**

ANNUAL DRINKING WATER QUALITY ANNUAL REPORT 2016-17

Torres Strait Island Regional Council – Service Provider SP500

|  |  |
| --- | --- |
| Document No. 170659  Version No: 1  Issue Date: December 2017 | Prepared By: Toni Veronese  Manager  Water & Wastewater |

# Document and Related Information Controller:

**Senior Quality Systems Officer:** Toni Veronese

Phone: (07) 40345744

Email: [Toni.Veronese@tsirc.qld.gov.au](mailto:Toni.Veronese@tsirc.qld.gov.au)

Table of Contents

[Document and Related Information Controller: 2](#_Toc500165808)

[Torres Strait Island Regional Council Water and Wastewater Statistics 4](#_Toc500165809)

[Implementation of Drinking Water Quality Management Plan 4](#_Toc500165810)

[Scheme Details 5](#_Toc500165811)

[Events that Affected Water Quality in 2016-17 6](#_Toc500165812)

[Projects to Improve Quality 7](#_Toc500165813)

[Operational and Verification Monitoring 7](#_Toc500165814)

[Water Quality Results for 2016-2017 7](#_Toc500165815)

[E.coli Results 7](#_Toc500165816)

[All Other Results 8](#_Toc500165817)

[Customer Complaints Received 2016-17 44](#_Toc500165818)

[Table 1: Scheme Details 5](#_Toc500165819)

[Table 2: Water Quality Failures Reported to Regulator 6](#_Toc500165820)

[Table 3: E.coli Results 7](#_Toc500165821)

[Table 4: Customer Complaints 44](#_Toc500165822)

# Torres Strait Island Regional Council Water and Wastewater Statistics

|  |  |
| --- | --- |
| Population Served | No. of Raw Water Storage Facilities |
| 4,131 | 12 Lagoons |

|  |  |
| --- | --- |
| No. of Treated Water Storage Facilities | Length of Delivery Mains |
| 19 Reservoirs | 88 km |

|  |  |
| --- | --- |
| No. of Sampling Locations | No. of Customer Complaints |
| 15 communities x 5 = 75 | Currently not captured |

# Implementation of Drinking Water Quality Management Plan

The Drinking Water Quality Management Plan (DWQMP) implementation with staff on the ground has been minimal to date. Sampling issues with freight companies and staff’s awareness of the importance of sampling and testing have meant that our sampling does not meet the current requirements of the DWQMP. A compliance register will now be maintained to allow tracking of compliance with sampling to allow action to be taken where necessary. A full review of the DWQMP will also be undertaken prior to the 7th January 2018 and submitted to the regulator following this for approval.

The Safe and Healthy Drinking Water in Indigenous Local Government Areas Project – Pilot being rolled out by Tropical Public Health Services with Torres Strait Island Regional Council staff at Warraber, Hammond, Poruma, Kubin and St Pauls has proved very beneficial and we have seen great improvement from these locations. With further projects to take place during 2017/18, we are confident that improvements will continue to be made.

# Scheme Details

Table 1: Scheme Details

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Scheme Name | Population Served | Connections | Catchment Characteristics | Treatment |
| Boigu | 235 | 91 | 3 x Desal Units  Lagoon (rainfall) | Media Filer  Chlorine Disinfection |
| Saibai | 480 | 119 | Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Dauan | 169 | 76 | 4 x Wells  1 x Desal Unit (mobile)  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Ugar | 72 | 34 | 2 x Wells  1 x Desal Unit  Lagoon (rainfall) | Bag Filter  Chlorine Disinfection |
| Erub | 310 | 127 | 1 x Well  1 x Desal Unit (mobile)  Lagoon (rainfall) | Floc Dosing & Clarifier  Sand Filter  Chlorine Disinfection |
| Mer | 424 | 135 | 3 x Desal Units  1 x Desal Unit (mobile)  Lagoon (rainfall) | Chlorine Disinfection |
| Masig | 270 | 109 | 1 x Desal Unit (mobile)  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Iama | 296 | 94 | 2 x Desal Units  1 x Desal Unit (mobile) | Desalination  Chlorine Disinfection |
| Poruma | 155 | 82 | 1 x Desal Unit  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Warraber | 232 | 75 | 1 x Desal Unit  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Mabuiag | 203 | 76 | 1 x Desal Unit  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| St Pauls | 237 | 116 | 2 x Well  1 x Weir  2 x Desal Units (temp) | Media Filter  Chlorine Disinfection |
| Kubin | 187 | 95 | 1 x Well  1 x Weir  Lagoon (rainfall) | Media Filter  Chlorine Disinfection |
| Badu | 698 | 233 | 3 x Wells | Aeration  Floc Dosing  Sand Filter  Chlorine Disinfection |
| Kirriri | 243 | 99 | 1 x Well  TSRA Water Supply | Filtration by TSRA  Chlorine Disinfection |

# Events that Affected Water Quality in 2016-17

The following drinking water events occurred during the 2016/17 reporting period.

A incident register is now being maintained to ensure more complete information can be provided to the regulator for the 2017/18 period.

Table 2: Water Quality Failures Reported to Regulator

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | Incident Date | Location | Parameter Failure | Date and Time Regulator Notified |
| DWI-7-500-00054 | 13/07/2016 | Poruma | E.coli | 18/07/2016 |
| DWI-7-500-00055 | 02/08/2016 | Mer | E.coli | 03/08/2016 |
| DWI-7-500-00056 | 17/08/2016 | Ugar | Manganese | 26/08/2016 |
| DWI-7-500-00057 | 10/10/2016 | Erub | E.coli | 12/10/2016 |
| DWI-7-500-00059 | 09/02/2017 | Boigu | E.coli | 13/02/2017 |
| DWI-7-500-00060 | 06/02/2017 | Kubin | E.coli | 17/02/2017 |
| DWI-7-500-00061 | 08/03/2017 | Poruma | E.coli | 09/03/2017 |
| DWI-7-500-00062 | 10/03/2017 | Warraber | E.coli | 11/03/2017 |
| DWI-7-500-00063 | 13/03/2017 | St Pauls | E.coli | 14/03/2017 |
| DWI-7-500-00064 | 09/08/2017 | Poruma | Chlorine | 09/08/2017 |
| DWI-7-500-00065 | 11/08/2017 | Kubin | E.coli | 14/08/2017 |
| DWI-7-500-00066 | 27/09/2017 | Saibai | E.coli | 27/09/2017 |

# Projects to Improve Quality

The Safe and Healthy Drinking Water in Indigenous Local Government Areas Project – Pilot being rolled out by Tropical Public Health Services with Torres Strait Island Regional Council staff is the primary

The project is a new approach to building the capacity of indigenous water operators to assure the ongoing safety and quality of water supplied by indigenous local governments. As part of the project drinking water disinfection technology is also improved and modernised. The project also aims to ensure Council complies with laws which relate to the supply of safe drinking water.

# Operational and Verification Monitoring

The recently completed SCADA upgrade and installation project has allowed for more online monitoring of some operational parameters. At this time, the major focus is on water security such as flow, reservoir levels and lagoon depth, and also chlorine residuals. The installation of HMI panels at Kubin, St Pauls, Warraber, Hammond and Poruma have also allowed water officers to view SCADA data to allow more informed operational decisions to be made.

Further SCADA works have been identified through funding proposals, however the high cost of operating and maintaining the infrastructure will also need to be considered moving forward.

# Water Quality Results for 2016-2017

# E.coli Results

During the 2016/17 period, sampling and testing compliance has been low.

Sampling and testing is very difficult throughout the Torres Straits and is very reliant on air freight. Airfreight providers cancelling flights and not completing the chain of custody between airlines at Horn Island effects the results to some degree. Internal testing at Iama is also effected with eskies not always making it to the water officer to test. A register of sampling compliance has been developed and will be used to track issues with freight and other causes outside of TSIRC’s control.

We are hoping with further education, the sampling compliance will improve.

Table 3: E.coli Results

|  |  |  |
| --- | --- | --- |
| Zone | No. of samples collected in previous 12 months | % of Samples that comply |
| Boigu | 30 | 96.7% |
| Saibai | 48 | 93.8% |
| Dauan | 18 | 100% |
| Ugar | 13 | 100% |
| Erub | 43 | 95.3% |
| Mer | 18 | 100% |
| Masig | 16 | 100% |
| Iama | 13 | 100% |
| Poruma | 36 | 91.4% |
| Warraber | 13 | 92.3% |
| Mabuiag | 23 | 100% |
| St Pauls | 30 | 100% |
| Kubin | 44 | 100% |
| Badu | 15 | 100% |
| Kirriri | 72 | 87.5% |

# All Other Results

Please see the below extract taken Cairns Regional Council Laboratory Services LIMS system.

This [link](https://tsirc-my.sharepoint.com/personal/toni_veronese_tsirc_qld_gov_au/_layouts/15/guestaccess.aspx?folderid=09514e1f5b67b4c47aab26ecbf979f8c9&authkey=AYN_oh_afBAu-ynsy_6fZxg&e=eea7d40901f74fdc86a56c15a056e155) can also be used to view hard copy log sheets for each location as these are yet to be transferred to an electronic format for trending etc.

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| DESCRIPTION | RECD\_DATE | SAMPLE\_TYPE | SAMPLED\_DATE | ANALYSIS | ANALYTE | SAMPLE\_NUMBER | RESULT | UNITS |
| Badu - Airport Terminal | 20/07/2016 7:37 | POTABLE | 19/07/2016 9:00 | Coliforms | E. coli | 359031 | <1 | CFU/100mL |
| Badu - Airport Terminal | 20/07/2016 7:37 | POTABLE | 19/07/2016 9:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359031 | 13 | CFU/mL |
| Badu - Airport Terminal | 12/10/2016 8:02 | POTABLE | 11/10/2016 10:35 | Coliforms | E. coli | 382466 | <1 | CFU/100mL |
| Badu - Airport Terminal | 12/10/2016 8:02 | POTABLE | 11/10/2016 10:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382466 | 25 | CFU/mL |
| Badu - Motel | 20/07/2016 7:37 | POTABLE | 19/07/2016 9:20 | Coliforms | E. coli | 359032 | <1 | CFU/100mL |
| Badu - Motel | 20/07/2016 7:37 | POTABLE | 19/07/2016 9:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359032 | 1 | CFU/mL |
| Badu - Motel | 12/10/2016 8:02 | POTABLE | 11/10/2016 10:05 | Coliforms | E. coli | 382468 | <1 | CFU/100mL |
| Badu - Motel | 12/10/2016 8:02 | POTABLE | 11/10/2016 10:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382468 | 1 | CFU/mL |
| Badu - Northern Star Seafood | 20/07/2016 7:37 | POTABLE | 19/07/2016 10:00 | Coliforms | E. coli | 359033 | <1 | CFU/100mL |
| Badu - Northern Star Seafood | 20/07/2016 7:37 | POTABLE | 19/07/2016 10:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359033 | 13 | CFU/mL |
| Badu - Northern Star Seafood | 12/10/2016 8:02 | POTABLE | 11/10/2016 11:00 | Coliforms | E. coli | 382470 | <1 | CFU/100mL |
| Badu - Northern Star Seafood | 12/10/2016 8:02 | POTABLE | 11/10/2016 11:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382470 | 70 | CFU/mL |
| Badu - Police Station | 20/07/2016 7:37 | POTABLE | 19/07/2016 10:15 | Coliforms | E. coli | 359034 | <1 | CFU/100mL |
| Badu - Police Station | 20/07/2016 7:37 | POTABLE | 19/07/2016 10:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359034 | 2 | CFU/mL |
| Badu - Police Station | 12/10/2016 8:02 | POTABLE | 11/10/2016 9:40 | Coliforms | E. coli | 382472 | <1 | CFU/100mL |
| Badu - Police Station | 12/10/2016 8:02 | POTABLE | 11/10/2016 9:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382472 | 1 | CFU/mL |
| Badu - Primary School | 20/07/2016 7:37 | POTABLE | 19/07/2016 11:00 | Coliforms | E. coli | 359035 | <1 | CFU/100mL |
| Badu - Primary School | 20/07/2016 7:37 | POTABLE | 19/07/2016 11:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359035 | 1 | CFU/mL |
| Badu - Primary School | 12/10/2016 8:02 | POTABLE | 11/10/2016 9:25 | Coliforms | E. coli | 382474 | <1 | CFU/100mL |
| Badu - Primary School | 12/10/2016 8:02 | POTABLE | 11/10/2016 9:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382474 | 1 | CFU/mL |
| Boigu - Airport Terminal | 17/02/2017 8:49 | POTABLE | 16/02/2017 11:17 | Coliforms | E. coli | 466517 | <1 | CFU/100mL |
| Boigu - Airport Terminal | 22/02/2017 8:27 | POTABLE | 21/02/2017 11:01 | Coliforms | E. coli | 423335 | <1 | CFU/100mL |
| Boigu - Airport Terminal | 22/02/2017 8:27 | POTABLE | 21/02/2017 11:01 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423335 | 29 | CFU/mL |
| Boigu - Airport Terminal | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:30 | Coliforms | E. coli | 441214 | <1 | CFU/100mL |
| Boigu - Airport Terminal | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441214 | 3 | CFU/mL |
| Boigu - Airport Terminal | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:10 | Coliforms | E. coli | 449301 | <1 | CFU/100mL |
| Boigu - Airport Terminal | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449301 | <1 | CFU/mL |
| Boigu - DW - Sewage Treatment Plant | 17/02/2017 8:49 | POTABLE | 16/02/2017 11:23 | Coliforms | E. coli | 466511 | <1 | CFU/100mL |
| Boigu - DW - Sewage Treatment Plant | 22/02/2017 8:27 | POTABLE | 21/02/2017 11:07 | Coliforms | E. coli | 423337 | <1 | CFU/100mL |
| Boigu - DW - Sewage Treatment Plant | 22/02/2017 8:27 | POTABLE | 21/02/2017 11:07 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423337 | 80 | CFU/mL |
| Boigu - DW - Sewage Treatment Plant | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:15 | Coliforms | E. coli | 441216 | <1 | CFU/100mL |
| Boigu - DW - Sewage Treatment Plant | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441216 | >300 | CFU/mL |
| Boigu - DW - Sewage Treatment Plant | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:16 | Coliforms | E. coli | 449303 | <1 | CFU/100mL |
| Boigu - DW - Sewage Treatment Plant | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:16 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449303 | 25 | CFU/mL |
| Boigu - Health Centre | 17/02/2017 8:49 | POTABLE | 16/02/2017 11:06 | Coliforms | E. coli | 466513 | <1 | CFU/100mL |
| Boigu - Health Centre | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:50 | Coliforms | E. coli | 423339 | <1 | CFU/100mL |
| Boigu - Health Centre | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423339 | 32 | CFU/mL |
| Boigu - Health Centre | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:00 | Coliforms | E. coli | 441218 | <1 | CFU/100mL |
| Boigu - Health Centre | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441218 | >300 | CFU/mL |
| Boigu - Health Centre | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:00 | Coliforms | E. coli | 449305 | <1 | CFU/100mL |
| Boigu - Health Centre | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449305 | 17 | CFU/mL |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | Anions | Sulphate | 415367 | 3 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | Anions | Chloride | 415367 | 180 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 415367 | 280 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | Colour | Apparent Colour | 415367 | 2.1 | Pt/Co units |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | Anions - Fluoride | Fluoride | 415367 | <0.02 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 415367 | 530 | µS/cm |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | EC, pH, Alkalinity, Turbidity, VFA | pH | 415367 | 6.4 | nil |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 415367 | 3 | mg CaCO3 / L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 415367 | 1 | NTU |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | ICPOES Iron | 415368 | 0.204 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | ICPOES Manganese | 415368 | <0.010 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | ICPOES Silicon | 415368 | 0.13 | mg/ L SiO2 |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | Calcium | 415368 | 1 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | Magnesium | 415368 | 1.3 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | Potassium | 415368 | 4.1 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | Sodium | 415368 | 89 | mg/L |
| Boigu - Operations Centre Basin | 12/10/2016 7:58 | POTABLE | 11/10/2016 10:45 | ICPOES Metals - Total | Total Hardness | 415368 | 7.9 | mg CaCO3 / L |
| Boigu - School | 17/02/2017 8:49 | POTABLE | 16/02/2017 11:11 | Coliforms | E. coli | 466515 | est 1 | CFU/100mL |
| Boigu - School | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:57 | Coliforms | E. coli | 423341 | <1 | CFU/100mL |
| Boigu - School | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:57 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423341 | 220 | CFU/mL |
| Boigu - School | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:10 | Coliforms | E. coli | 441220 | <1 | CFU/100mL |
| Boigu - School | 2/03/2017 7:47 | POTABLE | 1/03/2017 7:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441220 | 14 | CFU/mL |
| Boigu - School | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:05 | Coliforms | E. coli | 449307 | <1 | CFU/100mL |
| Boigu - School | 8/03/2017 14:11 | POTABLE | 7/03/2017 11:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449307 | 35 | CFU/mL |
| Boigu - Torres Strait Church | 17/02/2017 8:49 | POTABLE | 16/02/2017 11:00 | Coliforms | E. coli | 466509 | <1 | CFU/100mL |
| Boigu - Torres Strait Church | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:45 | Coliforms | E. coli | 423343 | <1 | CFU/100mL |
| Boigu - Torres Strait Church | 22/02/2017 8:27 | POTABLE | 21/02/2017 10:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423343 | 3 | CFU/mL |
| Boigu - Torres Strait Church | 2/03/2017 7:47 | POTABLE | 1/03/2017 6:55 | Coliforms | E. coli | 441222 | <1 | CFU/100mL |
| Boigu - Torres Strait Church | 2/03/2017 7:47 | POTABLE | 1/03/2017 6:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441222 | <1 | CFU/mL |
| Boigu - Torres Strait Church | 8/03/2017 14:11 | POTABLE | 7/03/2017 10:55 | Coliforms | E. coli | 449309 | <1 | CFU/100mL |
| Boigu - Torres Strait Church | 8/03/2017 14:11 | POTABLE | 7/03/2017 10:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449309 | <1 | CFU/mL |
| Council | 15/03/2017 14:41 | POTABLE | 15/03/2017 8:30 | Coliforms | E. coli | 473951 | <1 | CFU/100mL |
| Dauan - AQIS | 31/08/2016 7:39 | POTABLE | 30/08/2016 8:50 | Coliforms | E. coli | 420947 | <1 | CFU/100mL |
| Dauan - Council Office | 31/08/2016 7:39 | POTABLE | 30/08/2016 8:58 | Coliforms | E. coli | 420942 | <1 | CFU/100mL |
| Dauan - Council Office | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:10 | Coliforms | E. coli | 397894 | <1 | CFU/100mL |
| Dauan - Council Office | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397894 | <1 | CFU/mL |
| Dauan - Council Office | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:55 | Coliforms | E. coli | 415125 | <1 | CFU/100mL |
| Dauan - Council Office | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415125 | <1 | CFU/mL |
| Dauan - Council Office | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:25 | Coliforms | E. coli | 430282 | <1 | CFU/100mL |
| Dauan - Council Office | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430282 | 1 | CFU/mL |
| Dauan - Council Office | 2/03/2017 7:54 | POTABLE | 1/03/2017 7:20 | Coliforms | E. coli | 448884 | <1 | CFU/100mL |
| Dauan - Council Office | 2/03/2017 7:54 | POTABLE | 1/03/2017 7:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 448884 | >300 | CFU/mL |
| Dauan - Mooka House | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:05 | Coliforms | E. coli | 397896 | <1 | CFU/100mL |
| Dauan - Mooka House | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397896 | <1 | CFU/mL |
| Dauan - Mooka House | 25/10/2016 6:46 | POTABLE | 24/10/2016 0:00 | Coliforms | E. coli | 415127 | <1 | CFU/100mL |
| Dauan - Mooka House | 25/10/2016 6:46 | POTABLE | 24/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415127 | <1 | CFU/mL |
| Dauan - Mooka House | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:42 | Coliforms | E. coli | 430284 | <1 | CFU/100mL |
| Dauan - Mooka House | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:42 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430284 | 5 | CFU/mL |
| Dauan - Mooka House | 2/03/2017 7:54 | POTABLE | 1/03/2017 7:30 | Coliforms | E. coli | 448886 | <1 | CFU/100mL |
| Dauan - Mooka House | 2/03/2017 7:54 | POTABLE | 1/03/2017 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 448886 | >300 | CFU/mL |
| Dauan - N: Mooka | 31/08/2016 7:39 | POTABLE | 30/08/2016 9:05 | Coliforms | E. coli | 420950 | <1 | CFU/100mL |
| Dauan - S Mooka | 31/08/2016 7:39 | POTABLE | 30/08/2016 8:55 | Coliforms | E. coli | 420948 | <1 | CFU/100mL |
| Dauan - Sargi House | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:20 | Coliforms | E. coli | 397898 | <1 | CFU/100mL |
| Dauan - Sargi House | 14/09/2016 14:42 | POTABLE | 13/09/2016 12:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397898 | 36 | CFU/mL |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Coliforms | E. coli | 415129 | <1 | CFU/100mL |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415129 | <1 | CFU/mL |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Anions | Sulphate | 415130 | 4.4 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Anions | Chloride | 415130 | 150 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 415130 | 270 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Colour | Apparent Colour | 415130 | 14 | Pt/Co units |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | Anions - Fluoride | Fluoride | 415130 | 0.06 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 415130 | 510 | µS/cm |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | EC, pH, Alkalinity, Turbidity, VFA | pH | 415130 | 7 | nil |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 415130 | 9.8 | mg CaCO3 / L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 415130 | 4.6 | NTU |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | ICPOES Iron | 415131 | 0.285 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | ICPOES Manganese | 415131 | 0.013 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | ICPOES Silicon | 415131 | 15 | mg/ L SiO2 |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | Calcium | 415131 | 2.8 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | Magnesium | 415131 | 1.4 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | Potassium | 415131 | 3.3 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | Sodium | 415131 | 88 | mg/L |
| Dauan - Sargi House | 25/10/2016 6:46 | POTABLE | 24/10/2016 7:50 | ICPOES Metals - Total | Total Hardness | 415131 | 13 | mg CaCO3 / L |
| Dauan - Sargi House | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:20 | Coliforms | E. coli | 430286 | <1 | CFU/100mL |
| Dauan - Sargi House | 22/02/2017 8:02 | POTABLE | 21/02/2017 7:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430286 | 1 | CFU/mL |
| Dauan - Sargi House | 2/03/2017 7:54 | POTABLE | 1/03/2017 6:30 | Coliforms | E. coli | 448888 | <1 | CFU/100mL |
| Dauan - Sargi House | 2/03/2017 7:54 | POTABLE | 1/03/2017 6:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 448888 | >300 | CFU/mL |
| Dauan - School | 31/08/2016 7:39 | POTABLE | 30/08/2016 9:01 | Coliforms | E. coli | 420949 | <1 | CFU/100mL |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Aluminium | 460420 | 0.026 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Antimony | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Arsenic | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Barium | 460420 | 0.016 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Beryllium | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Boron | 460420 | 0.074 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Cadmium | 460420 | <0.0001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Chromium | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Cobalt | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Copper | 460420 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Iron | 460420 | <0.01 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Lead | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Manganese | 460420 | 0.003 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Molybdenum | 460420 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Nickel | 460420 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Selenium | 460420 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Silver | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Thallium | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Thorium | 460420 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Tin | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Titanium | 460420 | 0.003 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Uranium | 460420 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Vanadium | 460420 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | ICPMS Metals - Total | ICPMS Zinc | 460420 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | Coliforms | E. coli | 460421 | <1 | CFU/100mL |
| Desalinated Water from the mobile Plant | 7/02/2017 12:08 | POTABLE | 1/02/2017 7:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 460421 | 4 | CFU/mL |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Aluminium | 464074 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Antimony | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Arsenic | 464074 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Barium | 464074 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Beryllium | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Boron | 464074 | 1.78 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Cadmium | 464074 | 0.0001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Chromium | 464074 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Cobalt | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Copper | 464074 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Iron | 464074 | <0.01 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Lead | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Manganese | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Molybdenum | 464074 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Nickel | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Selenium | 464074 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Silver | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Thallium | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Thorium | 464074 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Tin | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Titanium | 464074 | <0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Uranium | 464074 | <0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Vanadium | 464074 | 0.001 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | ICPMS Metals - Total | ICPMS Zinc | 464074 | 0.005 | mg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | Mercury | Mercury | 464074 | <0.1 | µg/L |
| Desalinated Water from the mobile Plant | 9/02/2017 9:27 | POTABLE | 8/02/2017 7:30 | Coliforms | E. coli | 464075 | <1 | CFU/100mL |
| Erub - Bond House | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:15 | Coliforms | E. coli | 273217 | <1 | CFU/100mL |
| Erub - Bond House | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 273217 | <1 | CFU/mL |
| Erub - Bond House | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:30 | Coliforms | E. coli | 382408 | <1 | CFU/100mL |
| Erub - Bond House | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382408 | <1 | CFU/mL |
| Erub - Bond House | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:15 | Coliforms | E. coli | 398000 | <1 | CFU/100mL |
| Erub - Bond House | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 398000 | >300 | CFU/mL |
| Erub - Bond House | 20/10/2016 15:37 | POTABLE | 20/10/2016 9:30 | Coliforms | E. coli | 435021 | <1 | CFU/100mL |
| Erub - Bond House | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:00 | Coliforms | E. coli | 405842 | <1 | CFU/100mL |
| Erub - Bond House | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405842 | <1 | CFU/mL |
| Erub - Bond House | 13/04/2017 10:07 | POTABLE | nil | Coliforms | E. coli | 455395 | <1 | CFU/100mL |
| Erub - Bond House | 13/04/2017 10:07 | POTABLE | nil | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455395 | <1 | CFU/mL |
| Erub - Bond House | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:00 | Coliforms | E. coli | 461754 | <1 | CFU/100mL |
| Erub - Bond House | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461754 | <1 | CFU/mL |
| Erub - Council Office | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:15 | Coliforms | E. coli | 273218 | <1 | CFU/100mL |
| Erub - Council Office | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 273218 | <1 | CFU/mL |
| Erub - Council Office | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:30 | Coliforms | E. coli | 382410 | <1 | CFU/100mL |
| Erub - Council Office | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382410 | <1 | CFU/mL |
| Erub - Council Office | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:15 | Coliforms | E. coli | 398002 | <1 | CFU/100mL |
| Erub - Council Office | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 398002 | <1 | CFU/mL |
| Erub - Council Office | 20/10/2016 15:37 | POTABLE | 20/10/2016 9:30 | Coliforms | E. coli | 435023 | <1 | CFU/100mL |
| Erub - Council Office | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Coliforms | E. coli | 358984 | <1 | CFU/100mL |
| Erub - Council Office | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358984 | 1 | CFU/mL |
| Erub - Council Office | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:00 | Coliforms | E. coli | 405844 | <1 | CFU/100mL |
| Erub - Council Office | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405844 | 1 | CFU/mL |
| Erub - Council Office | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:45 | Coliforms | E. coli | 423173 | <1 | CFU/100mL |
| Erub - Council Office | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423173 | 1 | CFU/mL |
| Erub - Council Office | 13/04/2017 10:07 | POTABLE | nil | Coliforms | E. coli | 455397 | <1 | CFU/100mL |
| Erub - Council Office | 13/04/2017 10:07 | POTABLE | nil | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455397 | 7 | CFU/mL |
| Erub - Council Office | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:00 | Coliforms | E. coli | 461756 | <1 | CFU/100mL |
| Erub - Council Office | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461756 | 1 | CFU/mL |
| Erub - IBIS Store | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Coliforms | E. coli | 273219 | <1 | CFU/100mL |
| Erub - IBIS Store | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 273219 | 1 | CFU/mL |
| Erub - IBIS Store | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:35 | Coliforms | E. coli | 382412 | <1 | CFU/100mL |
| Erub - IBIS Store | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382412 | <1 | CFU/mL |
| Erub - IBIS Store | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:30 | Coliforms | E. coli | 398004 | <1 | CFU/100mL |
| Erub - IBIS Store | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 398004 | 1 | CFU/mL |
| Erub - IBIS Store | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Coliforms | E. coli | 358985 | <1 | CFU/100mL |
| Erub - IBIS Store | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358985 | <1 | CFU/mL |
| Erub - IBIS Store | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:15 | Coliforms | E. coli | 405846 | <1 | CFU/100mL |
| Erub - IBIS Store | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405846 | <1 | CFU/mL |
| Erub - IBIS Store | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:45 | Coliforms | E. coli | 423175 | <1 | CFU/100mL |
| Erub - IBIS Store | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423175 | <1 | CFU/mL |
| Erub - IBIS Store | 13/04/2017 10:07 | POTABLE | nil | Coliforms | E. coli | 455399 | <1 | CFU/100mL |
| Erub - IBIS Store | 13/04/2017 10:07 | POTABLE | nil | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455399 | 11 | CFU/mL |
| Erub - IBIS Store | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:15 | Coliforms | E. coli | 461758 | <1 | CFU/100mL |
| Erub - IBIS Store | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461758 | 1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Coliforms | E. coli | 273220 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 273220 | <1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:40 | Coliforms | E. coli | 382414 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382414 | <1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:30 | Coliforms | E. coli | 398006 | est 4 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 398006 | >300 | CFU/mL |
| Erub - Medical Aid Centre Tap | 20/10/2016 15:37 | POTABLE | 20/10/2016 9:35 | Coliforms | E. coli | 435019 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:30 | Coliforms | E. coli | 358986 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358986 | 1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:15 | Coliforms | E. coli | 405848 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405848 | 1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:30 | Coliforms | E. coli | 423177 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423177 | <1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 13/04/2017 10:07 | POTABLE | nil | Coliforms | E. coli | 455401 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 13/04/2017 10:07 | POTABLE | nil | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455401 | 1 | CFU/mL |
| Erub - Medical Aid Centre Tap | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:15 | Coliforms | E. coli | 461760 | <1 | CFU/100mL |
| Erub - Medical Aid Centre Tap | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461760 | <1 | CFU/mL |
| Erub - Pitt House | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Coliforms | E. coli | 273221 | <1 | CFU/100mL |
| Erub - Pitt House | 13/07/2016 7:46 | POTABLE | 12/07/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 273221 | 1 | CFU/mL |
| Erub - Pitt House | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:40 | Coliforms | E. coli | 382416 | <1 | CFU/100mL |
| Erub - Pitt House | 9/08/2016 7:51 | POTABLE | 8/08/2016 9:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382416 | <1 | CFU/mL |
| Erub - Pitt House | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:35 | Coliforms | E. coli | 398008 | <1 | CFU/100mL |
| Erub - Pitt House | 11/10/2016 7:49 | POTABLE | 10/10/2016 10:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 398008 | 1 | CFU/mL |
| Erub - Pitt House | 20/10/2016 15:37 | POTABLE | 20/10/2016 9:15 | Coliforms | E. coli | 435025 | <1 | CFU/100mL |
| Erub - Pitt House | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:30 | Coliforms | E. coli | 358987 | <1 | CFU/100mL |
| Erub - Pitt House | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358987 | <1 | CFU/mL |
| Erub - Pitt House | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:30 | Coliforms | E. coli | 405850 | <1 | CFU/100mL |
| Erub - Pitt House | 11/01/2017 13:33 | POTABLE | 10/01/2017 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405850 | 1 | CFU/mL |
| Erub - Pitt House | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:30 | Coliforms | E. coli | 423179 | <1 | CFU/100mL |
| Erub - Pitt House | 22/02/2017 8:21 | POTABLE | 21/02/2017 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423179 | <1 | CFU/mL |
| Erub - Pitt House | 13/04/2017 10:07 | POTABLE | nil | Coliforms | E. coli | 455403 | <1 | CFU/100mL |
| Erub - Pitt House | 13/04/2017 10:07 | POTABLE | nil | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455403 | <1 | CFU/mL |
| Erub - Pitt House | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:30 | Coliforms | E. coli | 461762 | <1 | CFU/100mL |
| Erub - Pitt House | 17/05/2017 7:12 | POTABLE | 16/05/2017 8:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461762 | <1 | CFU/mL |
| Erub - Treatment Plant | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Coliforms | E. coli | 358983 | <1 | CFU/100mL |
| Erub - Treatment Plant | 23/11/2016 14:28 | POTABLE | 21/11/2016 9:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358983 | <1 | CFU/mL |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Anions | Sulphate | 460423 | 2.8 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Anions | Chloride | 460423 | 39 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 460423 | 110 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Colour | Apparent Colour | 460423 | <1 | Pt/Co units |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Anions - Fluoride | Fluoride | 460423 | 0.03 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 460423 | 200 | µS/cm |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | EC, pH, Alkalinity, Turbidity, VFA | pH | 460423 | 7.5 | nil |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 460423 | 26 | mg CaCO3 / L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 460423 | 0.1 | NTU |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | ICPOES Silicon | 460423 | 19 | mg/ L SiO2 |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | Calcium | 460423 | 4.6 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | Magnesium | 460423 | 3.4 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | Potassium | 460423 | 3.4 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | Sodium | 460423 | 23 | mg/L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | ICPOES Metals - Total | Total Hardness | 460423 | 25 | mg CaCO3 / L |
| Erub Island - Clear Water from Reservoir | 2/02/2017 9:47 | POTABLE | 1/02/2017 8:00 | Mercury | Mercury | 460424 | <0.1 | µg/L |
| Hammond - Council Chamber | 8/07/2016 8:32 | POTABLE | 7/07/2016 6:51 | Coliforms | E. coli | 389614 | est 9 | CFU/100mL |
| Hammond - Council Chamber | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:00 | Coliforms | E. coli | 382643 | <1 | CFU/100mL |
| Hammond - Council Chamber | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382643 | 150 | CFU/mL |
| Hammond - Council Chamber | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:05 | Coliforms | E. coli | 409037 | est 3 | CFU/100mL |
| Hammond - Council Chamber | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 409037 | >300 | CFU/mL |
| Hammond - Council Chamber | 25/08/2016 15:21 | POTABLE | 25/08/2016 7:16 | Coliforms | E. coli | 398154 | <1 | CFU/100mL |
| Hammond - Council Chamber | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:42 | Coliforms | E. coli | 407151 | est 4 | CFU/100mL |
| Hammond - Council Chamber | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:42 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 407151 | >300 | CFU/mL |
| Hammond - Council Chamber | 20/09/2016 15:11 | POTABLE | 20/09/2016 7:00 | Coliforms | E. coli | 406060 | est 3 | CFU/100mL |
| Hammond - Council Chamber | 20/09/2016 15:11 | POTABLE | 20/09/2016 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406060 | >300 | CFU/mL |
| Hammond - Council Chamber | 30/09/2016 14:48 | POTABLE | 29/09/2016 6:39 | Coliforms | E. coli | 407160 | <1 | CFU/100mL |
| Hammond - Council Chamber | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:26 | Coliforms | E. coli | 359183 | <1 | CFU/100mL |
| Hammond - Council Chamber | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:26 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359183 | 1 | CFU/mL |
| Hammond - Council Chamber | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:36 | Coliforms | E. coli | 427692 | <1 | CFU/100mL |
| Hammond - Council Chamber | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:36 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 427692 | <1 | CFU/mL |
| Hammond - Council Chamber | 25/10/2016 14:34 | POTABLE | 25/10/2016 6:55 | Coliforms | E. coli | 436085 | <1 | CFU/100mL |
| Hammond - Council Chamber | 25/10/2016 14:34 | POTABLE | 25/10/2016 6:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 436085 | <1 | CFU/mL |
| Hammond - Council Chamber | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:25 | Coliforms | E. coli | 432417 | <1 | CFU/100mL |
| Hammond - Council Chamber | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 432417 | 1 | CFU/mL |
| Hammond - Council Chamber | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:00 | Coliforms | E. coli | 430647 | <1 | CFU/100mL |
| Hammond - Council Chamber | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430647 | <1 | CFU/mL |
| Hammond - Council Chamber | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:30 | Coliforms | E. coli | 447812 | <1 | CFU/100mL |
| Hammond - Council Chamber | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 447812 | 1 | CFU/mL |
| Hammond - Council Chamber | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:00 | Coliforms | E. coli | 423371 | <1 | CFU/100mL |
| Hammond - Council Chamber | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423371 | <1 | CFU/mL |
| Hammond - Council Chamber | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:40 | Coliforms | E. coli | 449337 | <1 | CFU/100mL |
| Hammond - Council Chamber | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449337 | 1 | CFU/mL |
| Hammond - Council Chamber | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:23 | Coliforms | E. coli | 455643 | <1 | CFU/100mL |
| Hammond - Council Chamber | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:23 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455643 | 1 | CFU/mL |
| Hammond - Council Chamber | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:07 | Coliforms | E. coli | 441250 | <1 | CFU/100mL |
| Hammond - Council Chamber | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:07 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441250 | <1 | CFU/mL |
| Hammond - Council Chamber | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:15 | Coliforms | E. coli | 461908 | <1 | CFU/100mL |
| Hammond - Council Chamber | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461908 | <1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 8/07/2016 8:32 | POTABLE | 7/07/2016 7:10 | Coliforms | E. coli | 389616 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:28 | Coliforms | E. coli | 382645 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:28 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382645 | 67 | CFU/mL |
| Hammond - Jackson Beckley"s House | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:44 | Coliforms | E. coli | 409041 | est 1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:44 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 409041 | 100 | CFU/mL |
| Hammond - Jackson Beckley"s House | 25/08/2016 15:21 | POTABLE | 25/08/2016 7:39 | Coliforms | E. coli | 398156 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 13/09/2016 15:06 | POTABLE | 13/09/2016 7:04 | Coliforms | E. coli | 407155 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 13/09/2016 15:06 | POTABLE | 13/09/2016 7:04 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 407155 | >300 | CFU/mL |
| Hammond - Jackson Beckley"s House | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:50 | Coliforms | E. coli | 406062 | est 1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406062 | >300 | CFU/mL |
| Hammond - Jackson Beckley"s House | 30/09/2016 14:48 | POTABLE | 29/09/2016 7:15 | Coliforms | E. coli | 407164 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:52 | Coliforms | E. coli | 359184 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:52 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359184 | 120 | CFU/mL |
| Hammond - Jackson Beckley"s House | 19/10/2016 14:07 | POTABLE | 19/10/2016 7:07 | Coliforms | E. coli | 427696 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 19/10/2016 14:07 | POTABLE | 19/10/2016 7:07 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 427696 | 1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 25/10/2016 14:34 | POTABLE | 25/10/2016 7:21 | Coliforms | E. coli | 436089 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 25/10/2016 14:34 | POTABLE | 25/10/2016 7:21 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 436089 | >300 | CFU/mL |
| Hammond - Jackson Beckley"s House | 2/11/2016 7:43 | POTABLE | 1/11/2016 7:12 | Coliforms | E. coli | 432421 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 2/11/2016 7:43 | POTABLE | 1/11/2016 7:12 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 432421 | 2 | CFU/mL |
| Hammond - Jackson Beckley"s House | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:17 | Coliforms | E. coli | 430649 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:17 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430649 | <1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 17/01/2017 15:14 | POTABLE | 17/01/2017 7:00 | Coliforms | E. coli | 447808 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 17/01/2017 15:14 | POTABLE | 17/01/2017 7:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 447808 | <1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:15 | Coliforms | E. coli | 423373 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423373 | <1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:48 | Coliforms | E. coli | 449339 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:48 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449339 | 1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:12 | Coliforms | E. coli | 455645 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:12 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455645 | <1 | CFU/mL |
| Hammond - Jackson Beckley"s House | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:40 | Coliforms | E. coli | 441252 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441252 | 2 | CFU/mL |
| Hammond - Jackson Beckley"s House | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:50 | Coliforms | E. coli | 461910 | <1 | CFU/100mL |
| Hammond - Jackson Beckley"s House | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461910 | <1 | CFU/mL |
| Hammond - K. Loban | 8/07/2016 8:32 | POTABLE | 7/07/2016 6:59 | Coliforms | E. coli | 389618 | <1 | CFU/100mL |
| Hammond - K. Loban | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:13 | Coliforms | E. coli | 382647 | <1 | CFU/100mL |
| Hammond - K. Loban | 26/07/2016 15:31 | POTABLE | 26/07/2016 7:13 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382647 | >300 | CFU/mL |
| Hammond - K. Loban | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:30 | Coliforms | E. coli | 409039 | <1 | CFU/100mL |
| Hammond - K. Loban | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 409039 | >300 | CFU/mL |
| Hammond - K. Loban | 25/08/2016 15:21 | POTABLE | 25/08/2016 7:26 | Coliforms | E. coli | 398158 | <1 | CFU/100mL |
| Hammond - K. Loban | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:50 | Coliforms | E. coli | 407153 | <1 | CFU/100mL |
| Hammond - K. Loban | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 407153 | >300 | CFU/mL |
| Hammond - K. Loban | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:45 | Coliforms | E. coli | 406064 | est 1 | CFU/100mL |
| Hammond - K. Loban | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406064 | >300 | CFU/mL |
| Hammond - K. Loban | 30/09/2016 14:48 | POTABLE | 29/09/2016 6:58 | Coliforms | E. coli | 407162 | <1 | CFU/100mL |
| Hammond - K. Loban | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:37 | Coliforms | E. coli | 359185 | <1 | CFU/100mL |
| Hammond - K. Loban | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:37 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359185 | >300 | CFU/mL |
| Hammond - K. Loban | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:51 | Coliforms | E. coli | 427694 | <1 | CFU/100mL |
| Hammond - K. Loban | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:51 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 427694 | 13 | CFU/mL |
| Hammond - K. Loban | 25/10/2016 14:34 | POTABLE | 25/10/2016 7:05 | Coliforms | E. coli | 436087 | <1 | CFU/100mL |
| Hammond - K. Loban | 25/10/2016 14:34 | POTABLE | 25/10/2016 7:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 436087 | 1 | CFU/mL |
| Hammond - K. Loban | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:45 | Coliforms | E. coli | 432419 | <1 | CFU/100mL |
| Hammond - K. Loban | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 432419 | <1 | CFU/mL |
| Hammond - K. Loban | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:12 | Coliforms | E. coli | 430651 | <1 | CFU/100mL |
| Hammond - K. Loban | 23/11/2016 14:35 | POTABLE | 21/11/2016 7:12 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430651 | <1 | CFU/mL |
| Hammond - K. Loban | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:15 | Coliforms | E. coli | 447806 | <1 | CFU/100mL |
| Hammond - K. Loban | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 447806 | 2 | CFU/mL |
| Hammond - K. Loban | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:10 | Coliforms | E. coli | 423375 | <1 | CFU/100mL |
| Hammond - K. Loban | 7/02/2017 15:13 | POTABLE | 7/02/2017 7:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423375 | <1 | CFU/mL |
| Hammond - K. Loban | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:50 | Coliforms | E. coli | 449341 | <1 | CFU/100mL |
| Hammond - K. Loban | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449341 | <1 | CFU/mL |
| Hammond - K. Loban | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:04 | Coliforms | E. coli | 455647 | <1 | CFU/100mL |
| Hammond - K. Loban | 4/04/2017 14:22 | POTABLE | 4/04/2017 7:04 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455647 | <1 | CFU/mL |
| Hammond - K. Loban | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:15 | Coliforms | E. coli | 441254 | <1 | CFU/100mL |
| Hammond - K. Loban | 1/06/2017 16:09 | POTABLE | 1/06/2017 11:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441254 | 1 | CFU/mL |
| Hammond - K. Loban | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:35 | Coliforms | E. coli | 461912 | <1 | CFU/100mL |
| Hammond - K. Loban | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461912 | <1 | CFU/mL |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | Anions | Sulphate | 432128 | 2.9 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | Anions | Chloride | 432128 | 22 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 432128 | 73 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | Colour | Apparent Colour | 432128 | 10 | Pt/Co units |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | Anions - Fluoride | Fluoride | 432128 | 0.07 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 432128 | 130 | µS/cm |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | EC, pH, Alkalinity, Turbidity, VFA | pH | 432128 | 7.7 | nil |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 432128 | 23 | mg CaCO3 / L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 432128 | 2.6 | NTU |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | ICPOES Iron | 432129 | 0.059 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | ICPOES Manganese | 432129 | 0.07 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | ICPOES Silicon | 432129 | 11 | mg/ L SiO2 |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | Calcium | 432129 | 6.8 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | Magnesium | 432129 | 1.4 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | Potassium | 432129 | 2.6 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | Sodium | 432129 | 13 | mg/L |
| Hammond - Well No. 3 | 12/10/2016 8:12 | POTABLE | 11/10/2016 0:00 | ICPOES Metals - Total | Total Hardness | 432129 | 23 | mg CaCO3 / L |
| Hammond - Workshop Shed | 8/07/2016 8:32 | POTABLE | 7/07/2016 6:46 | Coliforms | E. coli | 389620 | 18 | CFU/100mL |
| Hammond - Workshop Shed | 26/07/2016 15:31 | POTABLE | 26/07/2016 6:47 | Coliforms | E. coli | 382649 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 26/07/2016 15:31 | POTABLE | 26/07/2016 6:47 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382649 | >300 | CFU/mL |
| Hammond - Workshop Shed | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:10 | Coliforms | E. coli | 409043 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 16/08/2016 14:54 | POTABLE | 16/08/2016 7:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 409043 | >300 | CFU/mL |
| Hammond - Workshop Shed | 25/08/2016 15:21 | POTABLE | 25/08/2016 7:10 | Coliforms | E. coli | 398160 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:35 | Coliforms | E. coli | 407157 | est 4 | CFU/100mL |
| Hammond - Workshop Shed | 13/09/2016 15:06 | POTABLE | 13/09/2016 6:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 407157 | >300 | CFU/mL |
| Hammond - Workshop Shed | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:30 | Coliforms | E. coli | 406066 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 20/09/2016 15:11 | POTABLE | 20/09/2016 6:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406066 | >300 | CFU/mL |
| Hammond - Workshop Shed | 30/09/2016 14:48 | POTABLE | 29/09/2016 6:52 | Coliforms | E. coli | 407166 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:14 | Coliforms | E. coli | 359186 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 12/10/2016 8:11 | POTABLE | 11/10/2016 6:14 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 359186 | <1 | CFU/mL |
| Hammond - Workshop Shed | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:26 | Coliforms | E. coli | 427698 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 19/10/2016 14:07 | POTABLE | 19/10/2016 6:26 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 427698 | 1 | CFU/mL |
| Hammond - Workshop Shed | 25/10/2016 14:34 | POTABLE | 25/10/2016 6:36 | Coliforms | E. coli | 436091 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 25/10/2016 14:34 | POTABLE | 25/10/2016 6:36 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 436091 | <1 | CFU/mL |
| Hammond - Workshop Shed | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:13 | Coliforms | E. coli | 432423 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 2/11/2016 7:43 | POTABLE | 1/11/2016 6:13 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 432423 | 1 | CFU/mL |
| Hammond - Workshop Shed | 23/11/2016 14:35 | POTABLE | 21/11/2016 6:59 | Coliforms | E. coli | 430653 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 23/11/2016 14:35 | POTABLE | 21/11/2016 6:59 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430653 | <1 | CFU/mL |
| Hammond - Workshop Shed | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:27 | Coliforms | E. coli | 447810 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 17/01/2017 15:14 | POTABLE | 17/01/2017 6:27 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 447810 | 1 | CFU/mL |
| Hammond - Workshop Shed | 7/02/2017 15:13 | POTABLE | 7/02/2017 6:45 | Coliforms | E. coli | 423377 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 7/02/2017 15:13 | POTABLE | 7/02/2017 6:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423377 | <1 | CFU/mL |
| Hammond - Workshop Shed | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:39 | Coliforms | E. coli | 449343 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 7/03/2017 15:21 | POTABLE | 7/03/2017 6:39 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449343 | 1 | CFU/mL |
| Hammond - Workshop Shed | 4/04/2017 14:22 | POTABLE | 4/04/2017 6:47 | Coliforms | E. coli | 455649 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 4/04/2017 14:22 | POTABLE | 4/04/2017 6:47 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455649 | 1 | CFU/mL |
| Hammond - Workshop Shed | 1/06/2017 16:09 | POTABLE | 1/06/2017 10:57 | Coliforms | E. coli | 441256 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 1/06/2017 16:09 | POTABLE | 1/06/2017 10:57 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441256 | <1 | CFU/mL |
| Hammond - Workshop Shed | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:10 | Coliforms | E. coli | 461914 | <1 | CFU/100mL |
| Hammond - Workshop Shed | 9/06/2017 11:51 | POTABLE | 8/06/2017 11:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 461914 | <1 | CFU/mL |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Aluminium | 485881 | 0.139 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Antimony | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Arsenic | 485881 | 0.002 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Barium | 485881 | 0.087 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Beryllium | 485881 | 0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Boron | 485881 | <0.05 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Cadmium | 485881 | <0.0001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Chromium | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Cobalt | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Copper | 485881 | 0.008 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Iron | 485881 | 0.167 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Lead | 485881 | 0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Manganese | 485881 | 0.04 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Molybdenum | 485881 | <0.005 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Nickel | 485881 | 0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Selenium | 485881 | <0.005 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Silver | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Thallium | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Thorium | 485881 | <0.005 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Tin | 485881 | <0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Titanium | 485881 | 0.01 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Uranium | 485881 | <0.005 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Vanadium | 485881 | 0.001 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPMS Metals - Total | ICPMS Zinc | 485881 | 0.023 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Mercury | Mercury | 485881 | <0.1 | µg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Coliforms | E. coli | 485882 | <1 | CFU/100mL |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 485882 | >300 | CFU/mL |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Anions | Sulphate | 485883 | 9.2 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Anions | Chloride | 485883 | 39 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Anions - Fluoride | Fluoride | 485883 | 0.18 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Colour | Apparent Colour | 485883 | 15 | Pt/Co units |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | ICPOES Silicon | 485883 | 58 | mg/ L SiO2 |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | Calcium | 485883 | 24 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | Magnesium | 485883 | 3.6 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | Potassium | 485883 | 1.8 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | Sodium | 485883 | 30 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | ICPOES Metals - Total | Total Hardness | 485883 | 75 | mg CaCO3 / L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 485883 | 310 | µS/cm |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | EC, pH, Alkalinity, Turbidity, VFA | pH | 485883 | 6.7 | nil |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 485883 | 82 | mg CaCO3 / L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 485883 | 4.9 | NTU |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 485883 | 220 | mg/L |
| Hammond Island Well | 17/05/2017 16:09 | POTABLE | 17/05/2017 10:35 | Particle Size | nil | 485884 | See ALS report for Particle Size result | µm |
| Iama - Ben Songoro House | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:15 | Coliforms | E. coli | 280160 | <1 | CFU/100mL |
| Iama - Ben Songoro House | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280160 | <1 | CFU/mL |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | Anions | Sulphate | 280163 | 2.7 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | Anions | Chloride | 280163 | 180 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | Colour | Apparent Colour | 280163 | <1 | Pt/Co units |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | Anions - Fluoride | Fluoride | 280163 | <0.02 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 280163 | 550 | µS/cm |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | EC, pH, Alkalinity, Turbidity, VFA | pH | 280163 | 7 | nil |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 280163 | 2.5 | mg CaCO3 / L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 280163 | <0.1 | NTU |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 280163 | 280 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | ICPOES Iron | 280164 | <0.020 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | ICPOES Manganese | 280164 | <0.010 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | ICPOES Silicon | 280164 | <0.10 | mg/ L SiO2 |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | Calcium | 280164 | 0.32 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | Magnesium | 280164 | 0.84 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | Potassium | 280164 | 3.8 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | Sodium | 280164 | 89 | mg/L |
| Iama - Desalination Plant | 11/10/2016 7:55 | POTABLE | 10/10/2016 11:55 | ICPOES Metals - Total | Total Hardness | 280164 | 4.3 | mg CaCO3 / L |
| Iama - Medical Aid Post | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:30 | Coliforms | E. coli | 280161 | <1 | CFU/100mL |
| Iama - Medical Aid Post | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280161 | <1 | CFU/mL |
| Iama - School | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:20 | Coliforms | E. coli | 280162 | <1 | CFU/100mL |
| Iama - School | 11/10/2016 7:55 | POTABLE | 10/10/2016 12:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280162 | <1 | CFU/mL |
| Kubin - Airport | 14/09/2016 14:44 | POTABLE | 13/09/2016 11:20 | Coliforms | E. coli | 344116 | <1 | CFU/100mL |
| Kubin - Airport | 14/09/2016 14:44 | POTABLE | 13/09/2016 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 344116 | <1 | CFU/mL |
| Kubin - Airport | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:30 | Coliforms | E. coli | 406034 | <1 | CFU/100mL |
| Kubin - Airport | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406034 | <1 | CFU/mL |
| Kubin - Airport | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Coliforms | E. coli | 423345 | <1 | CFU/100mL |
| Kubin - Airport | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423345 | <1 | CFU/mL |
| Kubin - Airport | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:00 | Coliforms | E. coli | 449311 | <1 | CFU/100mL |
| Kubin - Airport | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449311 | <1 | CFU/mL |
| Kubin - Airport | 8/03/2017 8:42 | POTABLE | 7/03/2017 9:45 | Coliforms | E. coli | 472171 | <1 | CFU/100mL |
| Kubin - Airport | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:10 | Coliforms | E. coli | 474042 | <1 | CFU/100mL |
| Kubin - Airport | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474042 | <1 | CFU/mL |
| Kubin - Airport | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:38 | Coliforms | E. coli | 455617 | <1 | CFU/100mL |
| Kubin - Airport | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:38 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455617 | <1 | CFU/mL |
| Kubin - Airport | 9/05/2017 14:23 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 441224 | <1 | CFU/100mL |
| Kubin - Airport | 9/05/2017 14:23 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441224 | <1 | CFU/mL |
| Kubin - Bosun House | 14/09/2016 14:44 | POTABLE | 13/09/2016 11:35 | Coliforms | E. coli | 344117 | <1 | CFU/100mL |
| Kubin - Bosun House | 14/09/2016 14:44 | POTABLE | 13/09/2016 11:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 344117 | <1 | CFU/mL |
| Kubin - Bosun House | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:45 | Coliforms | E. coli | 406036 | <1 | CFU/100mL |
| Kubin - Bosun House | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406036 | <1 | CFU/mL |
| Kubin - Bosun House | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Coliforms | E. coli | 423347 | <1 | CFU/100mL |
| Kubin - Bosun House | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423347 | 1 | CFU/mL |
| Kubin - Bosun House | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:25 | Coliforms | E. coli | 449313 | <1 | CFU/100mL |
| Kubin - Bosun House | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449313 | <1 | CFU/mL |
| Kubin - Bosun House | 8/03/2017 8:42 | POTABLE | 7/03/2017 10:42 | Coliforms | E. coli | 472173 | <1 | CFU/100mL |
| Kubin - Bosun House | 16/03/2017 8:29 | POTABLE | 15/03/2017 11:25 | Coliforms | E. coli | 474036 | <1 | CFU/100mL |
| Kubin - Bosun House | 16/03/2017 8:29 | POTABLE | 15/03/2017 11:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474036 | <1 | CFU/mL |
| Kubin - Bosun House | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:56 | Coliforms | E. coli | 455619 | <1 | CFU/100mL |
| Kubin - Bosun House | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:56 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455619 | 1 | CFU/mL |
| Kubin - Bosun House | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:00 | Coliforms | E. coli | 441226 | <1 | CFU/100mL |
| Kubin - Bosun House | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441226 | <1 | CFU/mL |
| Kubin - Ibis | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:00 | Coliforms | E. coli | 344118 | <1 | CFU/100mL |
| Kubin - Ibis | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 344118 | <1 | CFU/mL |
| Kubin - Ibis | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:35 | Coliforms | E. coli | 406038 | <1 | CFU/100mL |
| Kubin - Ibis | 12/10/2016 7:50 | POTABLE | 11/10/2016 11:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406038 | 5 | CFU/mL |
| Kubin - Ibis | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:15 | Coliforms | E. coli | 449315 | <1 | CFU/100mL |
| Kubin - Ibis | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449315 | <1 | CFU/mL |
| Kubin - Ibis | 8/03/2017 8:42 | POTABLE | 7/03/2017 10:30 | Coliforms | E. coli | 472175 | <1 | CFU/100mL |
| Kubin - Ibis | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:20 | Coliforms | E. coli | 474040 | <1 | CFU/100mL |
| Kubin - Ibis | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474040 | <1 | CFU/mL |
| Kubin - Ibis | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:59 | Coliforms | E. coli | 455621 | <1 | CFU/100mL |
| Kubin - Ibis | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:59 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455621 | 1 | CFU/mL |
| Kubin - Ibis | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:05 | Coliforms | E. coli | 441228 | <1 | CFU/100mL |
| Kubin - Ibis | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441228 | <1 | CFU/mL |
| Kubin - Motel | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:25 | Coliforms | E. coli | 344119 | <1 | CFU/100mL |
| Kubin - Motel | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 344119 | <1 | CFU/mL |
| Kubin - Motel | 12/10/2016 7:50 | POTABLE | 11/10/2016 12:00 | Coliforms | E. coli | 406040 | <1 | CFU/100mL |
| Kubin - Motel | 12/10/2016 7:50 | POTABLE | 11/10/2016 12:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406040 | <1 | CFU/mL |
| Kubin - Motel | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Coliforms | E. coli | 423351 | <1 | CFU/100mL |
| Kubin - Motel | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423351 | <1 | CFU/mL |
| Kubin - Motel | 2/03/2017 7:50 | POTABLE | 1/03/2017 11:05 | Coliforms | E. coli | 449317 | <1 | CFU/100mL |
| Kubin - Motel | 2/03/2017 7:50 | POTABLE | 1/03/2017 11:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449317 | <1 | CFU/mL |
| Kubin - Motel | 8/03/2017 8:42 | POTABLE | 7/03/2017 10:10 | Coliforms | E. coli | 472177 | <1 | CFU/100mL |
| Kubin - Motel | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:37 | Coliforms | E. coli | 474044 | <1 | CFU/100mL |
| Kubin - Motel | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:37 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474044 | <1 | CFU/mL |
| Kubin - Motel | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:47 | Coliforms | E. coli | 455623 | <1 | CFU/100mL |
| Kubin - Motel | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:47 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455623 | <1 | CFU/mL |
| Kubin - Motel | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:30 | Coliforms | E. coli | 441230 | <1 | CFU/100mL |
| Kubin - Motel | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441230 | <1 | CFU/mL |
| Kubin - School | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:30 | Coliforms | E. coli | 344120 | <1 | CFU/100mL |
| Kubin - School | 14/09/2016 14:44 | POTABLE | 13/09/2016 12:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 344120 | <1 | CFU/mL |
| Kubin - School | 12/10/2016 7:50 | POTABLE | 11/10/2016 12:10 | Coliforms | E. coli | 406042 | <1 | CFU/100mL |
| Kubin - School | 12/10/2016 7:50 | POTABLE | 11/10/2016 12:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 406042 | <1 | CFU/mL |
| Kubin - School | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Coliforms | E. coli | 423353 | <1 | CFU/100mL |
| Kubin - School | 22/02/2017 8:33 | POTABLE | 21/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423353 | 1 | CFU/mL |
| Kubin - School | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:30 | Coliforms | E. coli | 449319 | <1 | CFU/100mL |
| Kubin - School | 2/03/2017 7:51 | POTABLE | 1/03/2017 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449319 | <1 | CFU/mL |
| Kubin - School | 8/03/2017 8:42 | POTABLE | 7/03/2017 10:20 | Coliforms | E. coli | 472185 | <1 | CFU/100mL |
| Kubin - School | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:00 | Coliforms | E. coli | 474038 | <1 | CFU/100mL |
| Kubin - School | 16/03/2017 8:29 | POTABLE | 15/03/2017 10:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474038 | <1 | CFU/mL |
| Kubin - School | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:52 | Coliforms | E. coli | 455625 | <1 | CFU/100mL |
| Kubin - School | 23/03/2017 8:43 | POTABLE | 22/03/2017 10:52 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 455625 | 6 | CFU/mL |
| Kubin - School | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:20 | Coliforms | E. coli | 441232 | <1 | CFU/100mL |
| Kubin - School | 9/05/2017 14:23 | POTABLE | 8/05/2017 10:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441232 | <1 | CFU/mL |
| Mabuiag - Airport Camp | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:50 | Coliforms | E. coli | 382504 | <1 | CFU/100mL |
| Mabuiag - Airport Camp | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382504 | 20 | CFU/mL |
| Mabuiag - Airport Camp | 12/10/2016 7:39 | POTABLE | 11/10/2016 11:40 | Coliforms | E. coli | 432118 | <1 | CFU/100mL |
| Mabuiag - Airport Camp | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:40 | Coliforms | E. coli | 375202 | <1 | CFU/100mL |
| Mabuiag - Airport Camp | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 375202 | 1 | CFU/mL |
| Mabuiag - Airport Camp | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Coliforms | E. coli | 475735 | <1 | CFU/100mL |
| Mabuiag - Airport Camp | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475735 | <1 | CFU/mL |
| Mabuiag - Airport Camp | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 488695 | <1 | CFU/100mL |
| Mabuiag - Airport Camp | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 488695 | <1 | CFU/mL |
| Mabuiag - Council Office | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:45 | Coliforms | E. coli | 382506 | <1 | CFU/100mL |
| Mabuiag - Council Office | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382506 | <1 | CFU/mL |
| Mabuiag - Council Office | 12/10/2016 7:39 | POTABLE | 11/10/2016 11:30 | Coliforms | E. coli | 432126 | <1 | CFU/100mL |
| Mabuiag - Council Office | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Coliforms | E. coli | 475743 | <1 | CFU/100mL |
| Mabuiag - Council Office | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475743 | <1 | CFU/mL |
| Mabuiag - Council Office | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 488703 | <1 | CFU/100mL |
| Mabuiag - Council Office | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 488703 | <1 | CFU/mL |
| Mabuiag - Ibis store | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:40 | Coliforms | E. coli | 382508 | <1 | CFU/100mL |
| Mabuiag - Ibis store | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382508 | <1 | CFU/mL |
| Mabuiag - Ibis store | 12/10/2016 7:39 | POTABLE | 11/10/2016 11:35 | Coliforms | E. coli | 432124 | <1 | CFU/100mL |
| Mabuiag - Ibis store | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Coliforms | E. coli | 475741 | <1 | CFU/100mL |
| Mabuiag - Ibis store | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475741 | <1 | CFU/mL |
| Mabuiag - Ibis store | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 488701 | <1 | CFU/100mL |
| Mabuiag - Ibis store | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 488701 | 1 | CFU/mL |
| Mabuiag - Medical Centre | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:35 | Coliforms | E. coli | 382510 | <1 | CFU/100mL |
| Mabuiag - Medical Centre | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382510 | <1 | CFU/mL |
| Mabuiag - Medical Centre | 12/10/2016 7:39 | POTABLE | 11/10/2016 11:25 | Coliforms | E. coli | 432122 | <1 | CFU/100mL |
| Mabuiag - Medical Centre | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:30 | Coliforms | E. coli | 375204 | <1 | CFU/100mL |
| Mabuiag - Medical Centre | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 375204 | <1 | CFU/mL |
| Mabuiag - Medical Centre | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Coliforms | E. coli | 475739 | <1 | CFU/100mL |
| Mabuiag - Medical Centre | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475739 | 1 | CFU/mL |
| Mabuiag - Medical Centre | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 488699 | <1 | CFU/100mL |
| Mabuiag - Medical Centre | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 488699 | <1 | CFU/mL |
| Mabuiag - School Duplex | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:30 | Coliforms | E. coli | 382512 | <1 | CFU/100mL |
| Mabuiag - School Duplex | 20/07/2016 7:34 | POTABLE | 19/07/2016 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 382512 | <1 | CFU/mL |
| Mabuiag - School Duplex | 12/10/2016 7:39 | POTABLE | 11/10/2016 11:20 | Coliforms | E. coli | 432120 | <1 | CFU/100mL |
| Mabuiag - School Duplex | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:55 | Coliforms | E. coli | 375206 | <1 | CFU/100mL |
| Mabuiag - School Duplex | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 375206 | 1 | CFU/mL |
| Mabuiag - School Duplex | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Coliforms | E. coli | 475737 | <1 | CFU/100mL |
| Mabuiag - School Duplex | 23/03/2017 8:39 | POTABLE | 22/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475737 | <1 | CFU/mL |
| Mabuiag - School Duplex | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Coliforms | E. coli | 488697 | <1 | CFU/100mL |
| Mabuiag - School Duplex | 9/05/2017 14:50 | POTABLE | 8/05/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 488697 | <1 | CFU/mL |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | Anions - Fluoride | Fluoride | 375208 | 0.02 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 375208 | 100 | µS/cm |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | EC, pH, Alkalinity, Turbidity, VFA | pH | 375208 | 6.6 | nil |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 375208 | 4.3 | mg CaCO3 / L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 375208 | 0.2 | NTU |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | ICPOES Iron | 375209 | <0.020 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | ICPOES Manganese | 375209 | <0.010 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | ICPOES Silicon | 375209 | 6.7 | mg/ L SiO2 |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | Calcium | 375209 | 1.4 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | Magnesium | 375209 | 1.1 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | Potassium | 375209 | 1.7 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | Sodium | 375209 | 14 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | ICPOES Metals - Total | Total Hardness | 375209 | 8 | mg CaCO3 / L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | Anions | Sulphate | 375210 | 2.8 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | Anions | Chloride | 375210 | 22 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 375210 | 52 | mg/L |
| Mabuiag - Water Treatment Plant | 23/11/2016 14:29 | POTABLE | 21/11/2016 9:00 | Colour | Apparent Colour | 375210 | 1.7 | Pt/Co units |
| Masig - Beatrice Mosby"s House | 11/10/2016 7:59 | POTABLE | 10/10/2016 11:30 | Coliforms | E. coli | 382530 | <1 | CFU/100mL |
| Masig - Council Office | 11/10/2016 7:59 | POTABLE | 10/10/2016 11:45 | Coliforms | E. coli | 382532 | <1 | CFU/100mL |
| Masig - Freezer House | 11/10/2016 7:59 | POTABLE | 10/10/2016 11:25 | Coliforms | E. coli | 382534 | <1 | CFU/100mL |
| Masig - Jack Pearson"s House | 11/10/2016 7:59 | POTABLE | 10/10/2016 11:50 | Coliforms | E. coli | 382536 | <1 | CFU/100mL |
| Masig - School | 11/10/2016 7:59 | POTABLE | 10/10/2016 11:40 | Coliforms | E. coli | 382538 | <1 | CFU/100mL |
| Mer - Anglican Church outdoor tap | 18/08/2016 13:34 | POTABLE | 17/08/2016 12:20 | Coliforms | E. coli | 417627 | <1 | CFU/100mL |
| Mer - Annie Salee"s residence outdoor tap | 18/08/2016 13:34 | POTABLE | 17/08/2016 12:30 | Coliforms | E. coli | 417628 | <1 | CFU/100mL |
| Mer - Cemetery | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:25 | Coliforms | E. coli | 352273 | <1 | CFU/100mL |
| Mer - Cemetery | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 352273 | 6 | CFU/mL |
| Mer - Cemetery | 18/08/2016 13:30 | POTABLE | 17/08/2016 12:25 | Coliforms | E. coli | 366166 | <1 | CFU/100mL |
| Mer - Cemetery | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:30 | Coliforms | E. coli | 415265 | <1 | CFU/100mL |
| Mer - Cemetery | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415265 | <1 | CFU/mL |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | Anions | Sulphate | 415267 | 5.7 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | Anions | Chloride | 415267 | 250 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 415267 | 420 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | Colour | Apparent Colour | 415267 | 1.4 | Pt/Co units |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | Anions - Fluoride | Fluoride | 415267 | <0.02 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 415267 | 840 | µS/cm |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | EC, pH, Alkalinity, Turbidity, VFA | pH | 415267 | 6.8 | nil |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 415267 | 3.3 | mg CaCO3 / L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 415267 | 0.1 | NTU |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | ICPOES Iron | 415268 | 0.021 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | ICPOES Manganese | 415268 | <0.010 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | ICPOES Silicon | 415268 | <0.10 | mg/ L SiO2 |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | Calcium | 415268 | 1.2 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | Magnesium | 415268 | 2.9 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | Potassium | 415268 | 7.1 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | Sodium | 415268 | 150 | mg/L |
| Mer - Council Office Indoor Tap | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:20 | ICPOES Metals - Total | Total Hardness | 415268 | 15 | mg CaCO3 / L |
| Mer - Desalination Plant | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:00 | Coliforms | E. coli | 352274 | <1 | CFU/100mL |
| Mer - Desalination Plant | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 352274 | <1 | CFU/mL |
| Mer - Desalination Plant | 18/08/2016 13:30 | POTABLE | 17/08/2016 12:00 | Coliforms | E. coli | 366168 | <1 | CFU/100mL |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Coliforms | E. coli | 415270 | <1 | CFU/100mL |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415270 | <1 | CFU/mL |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Anions | Sulphate | 415271 | 5.8 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Anions | Chloride | 415271 | 260 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 415271 | 430 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Colour | Apparent Colour | 415271 | <1 | Pt/Co units |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | Anions - Fluoride | Fluoride | 415271 | <0.02 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 415271 | 840 | µS/cm |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | pH | 415271 | 6.8 | nil |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 415271 | 3.3 | mg CaCO3 / L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 415271 | 0.1 | NTU |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | ICPOES Iron | 415272 | <0.020 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | ICPOES Manganese | 415272 | <0.010 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | ICPOES Silicon | 415272 | <0.10 | mg/ L SiO2 |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | Calcium | 415272 | 1.2 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | Magnesium | 415272 | 3 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | Potassium | 415272 | 7.1 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | Sodium | 415272 | 150 | mg/L |
| Mer - Desalination Plant | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:15 | ICPOES Metals - Total | Total Hardness | 415272 | 15 | mg CaCO3 / L |
| Mer - School | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:10 | Coliforms | E. coli | 352275 | <1 | CFU/100mL |
| Mer - School | 9/08/2016 7:42 | POTABLE | 8/08/2016 12:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 352275 | 1 | CFU/mL |
| Mer - School | 18/08/2016 13:30 | POTABLE | 17/08/2016 12:15 | Coliforms | E. coli | 366170 | <1 | CFU/100mL |
| Mer - School | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:40 | Coliforms | E. coli | 415274 | <1 | CFU/100mL |
| Mer - School | 18/10/2016 7:39 | POTABLE | 17/10/2016 12:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415274 | <1 | CFU/mL |
| Mer Island - Anglican Church outdoor tap | 9/08/2016 7:46 | POTABLE | 8/08/2016 12:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 414947 | 2 | CFU/mL |
| Mer Island - Anglican Church outdoor tap | 9/08/2016 7:46 | POTABLE | 8/08/2016 12:20 | Coliforms | E. coli | 414947 | <1 | CFU/100mL |
| Mer Island - Annie Salee"s resident outdoor tap | 9/08/2016 7:46 | POTABLE | 8/08/2016 12:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 414948 | 9 | CFU/mL |
| Mer Island - Annie Salee"s resident outdoor tap | 9/08/2016 7:46 | POTABLE | 8/08/2016 12:30 | Coliforms | E. coli | 414948 | <1 | CFU/100mL |
| N. Mooka | 15/03/2017 14:41 | POTABLE | 15/03/2017 8:15 | Coliforms | E. coli | 473949 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 4/08/2016 8:30 | POTABLE | 3/08/2016 11:05 | Coliforms | E. coli | 274606 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 22/08/2016 14:46 | POTABLE | 19/08/2016 11:14 | Coliforms | E. coli | 418701 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 9/09/2016 7:37 | POTABLE | 8/09/2016 8:14 | Coliforms | E. coli | 397944 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:32 | Coliforms | E. coli | 280083 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:32 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280083 | <1 | CFU/mL |
| Poruma - Dick Billy House | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:00 | Coliforms | E. coli | 333643 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 333643 | <1 | CFU/mL |
| Poruma - Dick Billy House | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:25 | Coliforms | E. coli | 473494 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 473494 | 22 | CFU/mL |
| Poruma - Dick Billy House | 23/03/2017 8:28 | POTABLE | 22/03/2017 11:05 | Coliforms | E. coli | 415180 | <1 | CFU/100mL |
| Poruma - Dick Billy House | 23/03/2017 8:28 | POTABLE | 22/03/2017 11:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415180 | <1 | CFU/mL |
| Poruma - Donga | 4/08/2016 8:30 | POTABLE | 3/08/2016 10:54 | Coliforms | E. coli | 274604 | <1 | CFU/100mL |
| Poruma - Donga | 22/08/2016 14:46 | POTABLE | 19/08/2016 11:31 | Coliforms | E. coli | 418699 | 18 | CFU/100mL |
| Poruma - Donga | 9/09/2016 7:37 | POTABLE | 8/09/2016 8:22 | Coliforms | E. coli | 397946 | <1 | CFU/100mL |
| Poruma - Donga | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:16 | Coliforms | E. coli | 280084 | <1 | CFU/100mL |
| Poruma - Donga | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:16 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280084 | 1 | CFU/mL |
| Poruma - Donga | 18/10/2016 7:55 | POTABLE | 17/10/2016 11:45 | Coliforms | E. coli | 333644 | <1 | CFU/100mL |
| Poruma - Donga | 18/10/2016 7:55 | POTABLE | 17/10/2016 11:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 333644 | 1 | CFU/mL |
| Poruma - Donga | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:15 | Coliforms | E. coli | 473490 | <1 | CFU/100mL |
| Poruma - Donga | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 473490 | <1 | CFU/mL |
| Poruma - Donga | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:27 | Coliforms | E. coli | 415182 | <1 | CFU/100mL |
| Poruma - Donga | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:27 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415182 | <1 | CFU/mL |
| Poruma - Freddie David House | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:48 | Coliforms | E. coli | 431834 | <1 | CFU/100mL |
| Poruma - Freddie David House | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:48 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 431834 | <1 | CFU/mL |
| Poruma - Freddie David House | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:50 | Coliforms | E. coli | 475732 | <1 | CFU/100mL |
| Poruma - Freddie David House | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475732 | <1 | CFU/mL |
| Poruma - Medical Aid Post | 4/08/2016 8:30 | POTABLE | 3/08/2016 11:00 | Coliforms | E. coli | 274605 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 22/08/2016 14:46 | POTABLE | 19/08/2016 11:23 | Coliforms | E. coli | 418700 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 9/09/2016 7:37 | POTABLE | 8/09/2016 8:34 | Coliforms | E. coli | 397948 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:30 | Coliforms | E. coli | 280085 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280085 | 1 | CFU/mL |
| Poruma - Medical Aid Post | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:10 | Coliforms | E. coli | 333645 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 333645 | 1 | CFU/mL |
| Poruma - Medical Aid Post | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:20 | Coliforms | E. coli | 473492 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 473492 | 1 | CFU/mL |
| Poruma - Medical Aid Post | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:40 | Coliforms | E. coli | 415184 | <1 | CFU/100mL |
| Poruma - Medical Aid Post | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415184 | <1 | CFU/mL |
| Poruma - School | 4/08/2016 8:30 | POTABLE | 3/08/2016 11:09 | Coliforms | E. coli | 274603 | <1 | CFU/100mL |
| Poruma - School | 22/08/2016 14:46 | POTABLE | 19/08/2016 11:08 | Coliforms | E. coli | 418702 | 16 | CFU/100mL |
| Poruma - School | 9/09/2016 7:37 | POTABLE | 8/09/2016 8:06 | Coliforms | E. coli | 397950 | <1 | CFU/100mL |
| Poruma - School | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:37 | Coliforms | E. coli | 431836 | <1 | CFU/100mL |
| Poruma - School | 11/10/2016 7:51 | POTABLE | 10/10/2016 11:37 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 431836 | <1 | CFU/mL |
| Poruma - School | 18/10/2016 7:55 | POTABLE | 17/10/2016 11:30 | Coliforms | E. coli | 433871 | <1 | CFU/100mL |
| Poruma - School | 18/10/2016 7:55 | POTABLE | 17/10/2016 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 433871 | <1 | CFU/mL |
| Poruma - School | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:30 | Coliforms | E. coli | 473488 | <1 | CFU/100mL |
| Poruma - School | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 473488 | 2 | CFU/mL |
| Poruma - School | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:45 | Coliforms | E. coli | 475733 | <1 | CFU/100mL |
| Poruma - School | 23/03/2017 8:28 | POTABLE | 22/03/2017 10:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 475733 | <1 | CFU/mL |
| Poruma - Tourist Cabins | 4/08/2016 8:30 | POTABLE | 3/08/2016 11:15 | Coliforms | E. coli | 274602 | <1 | CFU/100mL |
| Poruma - Tourist Cabins | 22/08/2016 14:46 | POTABLE | 19/08/2016 11:00 | Coliforms | E. coli | 418703 | 13 | CFU/100mL |
| Poruma - Tourist Cabins | 9/09/2016 7:37 | POTABLE | 8/09/2016 8:01 | Coliforms | E. coli | 397952 | <1 | CFU/100mL |
| Poruma - Tourist Cabins | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:05 | Coliforms | E. coli | 433873 | <1 | CFU/100mL |
| Poruma - Tourist Cabins | 18/10/2016 7:55 | POTABLE | 17/10/2016 12:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 433873 | 1 | CFU/mL |
| Poruma - Tourist Cabins | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:35 | Coliforms | E. coli | 473486 | <1 | CFU/100mL |
| Poruma - Tourist Cabins | 14/03/2017 7:51 | POTABLE | 13/03/2017 11:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 473486 | 28 | CFU/mL |
| S.Mooka | 15/03/2017 14:41 | POTABLE | 15/03/2017 8:59 | Coliforms | E. coli | 473952 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 26/08/2016 8:43 | POTABLE | 25/08/2016 12:00 | Coliforms | E. coli | 97705 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:20 | Coliforms | E. coli | 417544 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 417544 | >300 | CFU/mL |
| Saibai - Chairman"s House | 14/09/2016 14:47 | POTABLE | 13/09/2016 10:40 | Coliforms | E. coli | 405832 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 14/09/2016 14:47 | POTABLE | 13/09/2016 10:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405832 | <1 | CFU/mL |
| Saibai - Chairman"s House | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:17 | Coliforms | E. coli | 366124 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:17 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 366124 | >300 | CFU/mL |
| Saibai - Chairman"s House | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 397990 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397990 | >300 | CFU/mL |
| Saibai - Chairman"s House | 2/11/2016 7:45 | POTABLE | 1/11/2016 11:57 | Coliforms | E. coli | 358973 | est 2 | CFU/100mL |
| Saibai - Chairman"s House | 2/11/2016 7:45 | POTABLE | 1/11/2016 11:57 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358973 | >300 | CFU/mL |
| Saibai - Chairman"s House | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Coliforms | E. coli | 441086 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441086 | >300 | CFU/mL |
| Saibai - Chairman"s House | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Coliforms | E. coli | 415225 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415225 | 7 | CFU/mL |
| Saibai - Chairman"s House | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:29 | Coliforms | E. coli | 423161 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:29 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423161 | 10 | CFU/mL |
| Saibai - Chairman"s House | 15/03/2017 14:32 | POTABLE | 14/03/2017 9:55 | Coliforms | E. coli | 467708 | <1 | CFU/100mL |
| Saibai - Chairman"s House | 15/03/2017 14:32 | POTABLE | 14/03/2017 9:55 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 467708 | >300 | CFU/mL |
| Saibai - Community Centre | 26/08/2016 8:43 | POTABLE | 25/08/2016 0:08 | Coliforms | E. coli | 97706 | <1 | CFU/100mL |
| Saibai - Community Centre | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:25 | Coliforms | E. coli | 417546 | <1 | CFU/100mL |
| Saibai - Community Centre | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 417546 | >300 | CFU/mL |
| Saibai - Community Centre | 14/09/2016 14:47 | POTABLE | 13/09/2016 10:50 | Coliforms | E. coli | 405834 | <1 | CFU/100mL |
| Saibai - Community Centre | 14/09/2016 14:47 | POTABLE | 13/09/2016 10:50 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405834 | 1 | CFU/mL |
| Saibai - Community Centre | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:25 | Coliforms | E. coli | 366126 | <1 | CFU/100mL |
| Saibai - Community Centre | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 366126 | >300 | CFU/mL |
| Saibai - Community Centre | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 397992 | <1 | CFU/100mL |
| Saibai - Community Centre | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397992 | >300 | CFU/mL |
| Saibai - Community Centre | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Coliforms | E. coli | 358974 | est 1 | CFU/100mL |
| Saibai - Community Centre | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358974 | >300 | CFU/mL |
| Saibai - Community Centre | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Coliforms | E. coli | 441088 | <1 | CFU/100mL |
| Saibai - Community Centre | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441088 | >300 | CFU/mL |
| Saibai - Community Centre | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Coliforms | E. coli | 415227 | <1 | CFU/100mL |
| Saibai - Community Centre | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415227 | 19 | CFU/mL |
| Saibai - Community Centre | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:13 | Coliforms | E. coli | 423163 | <1 | CFU/100mL |
| Saibai - Community Centre | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:13 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423163 | 2 | CFU/mL |
| Saibai - Community Centre | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:15 | Coliforms | E. coli | 467710 | <1 | CFU/100mL |
| Saibai - Community Centre | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 467710 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 26/08/2016 8:43 | POTABLE | 25/08/2016 0:20 | Coliforms | E. coli | 97707 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:35 | Coliforms | E. coli | 417548 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 417548 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:00 | Coliforms | E. coli | 405836 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405836 | <1 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:40 | Coliforms | E. coli | 366128 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 366128 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 397994 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397994 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Coliforms | E. coli | 358975 | est 1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358975 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Coliforms | E. coli | 441090 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441090 | >300 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Coliforms | E. coli | 415229 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415229 | 9 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:09 | Coliforms | E. coli | 423165 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:09 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423165 | 7 | CFU/mL |
| Saibai - DW - Sewage Treatment Plant | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:30 | Coliforms | E. coli | 467712 | <1 | CFU/100mL |
| Saibai - DW - Sewage Treatment Plant | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 467712 | >300 | CFU/mL |
| Saibai - School | 26/08/2016 8:43 | POTABLE | 25/08/2016 0:15 | Coliforms | E. coli | 97704 | <1 | CFU/100mL |
| Saibai - School | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:45 | Coliforms | E. coli | 417542 | <1 | CFU/100mL |
| Saibai - School | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 417542 | >300 | CFU/mL |
| Saibai - School | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:15 | Coliforms | E. coli | 405840 | <1 | CFU/100mL |
| Saibai - School | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405840 | 4 | CFU/mL |
| Saibai - School | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:12 | Coliforms | E. coli | 366132 | <1 | CFU/100mL |
| Saibai - School | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:12 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 366132 | >300 | CFU/mL |
| Saibai - School | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 397998 | <1 | CFU/100mL |
| Saibai - School | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397998 | >300 | CFU/mL |
| Saibai - School | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Coliforms | E. coli | 358977 | <1 | CFU/100mL |
| Saibai - School | 2/11/2016 7:45 | POTABLE | 1/11/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358977 | >300 | CFU/mL |
| Saibai - School | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Coliforms | E. coli | 441094 | <1 | CFU/100mL |
| Saibai - School | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441094 | >300 | CFU/mL |
| Saibai - School | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:32 | Coliforms | E. coli | 423169 | <1 | CFU/100mL |
| Saibai - School | 8/03/2017 14:06 | POTABLE | 7/03/2017 11:32 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423169 | 4 | CFU/mL |
| Saibai - School | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:10 | Coliforms | E. coli | 467706 | <1 | CFU/100mL |
| Saibai - School | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 467706 | 79 | CFU/mL |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Coliforms | E. coli | 417552 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 417552 | >300 | CFU/mL |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Anions | Sulphate | 417553 | 11 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Anions | Chloride | 417553 | 81 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 417553 | 250 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Colour | Apparent Colour | 417553 | 14 | Pt/Co units |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | Anions - Fluoride | Fluoride | 417553 | 0.17 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 417553 | 480 | µS/cm |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | pH | 417553 | 8.4 | nil |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 417553 | 100 | mg CaCO3 / L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 417553 | 1.1 | NTU |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | ICPOES Iron | 417554 | 0.157 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | ICPOES Manganese | 417554 | <0.010 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | ICPOES Silicon | 417554 | 7.9 | mg/ L SiO2 |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | Calcium | 417554 | 22 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | Magnesium | 417554 | 6.4 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | Potassium | 417554 | 7.7 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | Sodium | 417554 | 57 | mg/L |
| Saibai - Water Treatment Plant | 31/08/2016 7:33 | POTABLE | 30/08/2016 12:15 | ICPOES Metals - Total | Total Hardness | 417554 | 81 | mg CaCO3 / L |
| Saibai - Water Treatment Plant | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:10 | Coliforms | E. coli | 405838 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 14/09/2016 14:47 | POTABLE | 13/09/2016 11:10 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405838 | 3 | CFU/mL |
| Saibai - Water Treatment Plant | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:05 | Coliforms | E. coli | 366130 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 12/10/2016 7:55 | POTABLE | 11/10/2016 12:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 366130 | >300 | CFU/mL |
| Saibai - Water Treatment Plant | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 397996 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 19/10/2016 7:39 | POTABLE | 18/10/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 397996 | >300 | CFU/mL |
| Saibai - Water Treatment Plant | 2/11/2016 7:45 | POTABLE | 1/11/2016 11:38 | Coliforms | E. coli | 358976 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 2/11/2016 7:45 | POTABLE | 1/11/2016 11:38 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 358976 | >300 | CFU/mL |
| Saibai - Water Treatment Plant | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Coliforms | E. coli | 441092 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 7/02/2017 7:36 | POTABLE | 6/02/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441092 | >300 | CFU/mL |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Coliforms | E. coli | 415231 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 415231 | 6 | CFU/mL |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Anions | Sulphate | 415232 | 19 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Anions | Chloride | 415232 | 11 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 415232 | 85 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Colour | Apparent Colour | 415232 | 6.6 | Pt/Co units |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | Anions - Fluoride | Fluoride | 415232 | 0.06 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 415232 | 150 | µS/cm |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | EC, pH, Alkalinity, Turbidity, VFA | pH | 415232 | 7.3 | nil |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 415232 | 36 | mg CaCO3 / L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 415232 | 1 | NTU |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | ICPOES Iron | 415233 | 0.025 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | ICPOES Manganese | 415233 | <0.010 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | ICPOES Silicon | 415233 | 4.7 | mg/ L SiO2 |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | Calcium | 415233 | 13 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | Magnesium | 415233 | 1.5 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | Potassium | 415233 | 3.5 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | Sodium | 415233 | 10 | mg/L |
| Saibai - Water Treatment Plant | 2/03/2017 7:55 | POTABLE | 1/03/2017 0:00 | ICPOES Metals - Total | Total Hardness | 415233 | 39 | mg CaCO3 / L |
| Saibai - Water Treatment Plant | 8/03/2017 14:06 | POTABLE | 7/03/2017 10:52 | Coliforms | E. coli | 423167 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 8/03/2017 14:06 | POTABLE | 7/03/2017 10:52 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 423167 | 22 | CFU/mL |
| Saibai - Water Treatment Plant | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:00 | Coliforms | E. coli | 467714 | <1 | CFU/100mL |
| Saibai - Water Treatment Plant | 15/03/2017 14:32 | POTABLE | 14/03/2017 10:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 467714 | >300 | CFU/mL |
| Sample 1 | 19/10/2016 14:15 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 434403 | <1 | CFU/100mL |
| Sample 2 | 19/10/2016 14:15 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 434404 | <1 | CFU/100mL |
| Sample 3 | 19/10/2016 14:15 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 434405 | <1 | CFU/100mL |
| Sample 4 | 19/10/2016 14:15 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 434406 | <1 | CFU/100mL |
| Sample 5 | 19/10/2016 14:15 | POTABLE | 18/10/2016 0:00 | Coliforms | E. coli | 434407 | <1 | CFU/100mL |
| School | 15/03/2017 14:41 | POTABLE | 15/03/2017 8:25 | Coliforms | E. coli | 473950 | <1 | CFU/100mL |
| St Pauls - B. Kris House | 27/07/2016 7:42 | POTABLE | 26/07/2016 9:43 | Coliforms | E. coli | 401442 | <1 | CFU/100mL |
| St Pauls - B. Kris House | 27/07/2016 7:42 | POTABLE | 26/07/2016 9:43 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401442 | <1 | CFU/mL |
| St Pauls - B. Kris House | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:28 | Coliforms | E. coli | 401432 | <1 | CFU/100mL |
| St Pauls - B. Kris House | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:28 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401432 | <1 | CFU/mL |
| St Pauls - B. Kris House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Coliforms | E. coli | 430637 | <1 | CFU/100mL |
| St Pauls - B. Kris House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430637 | 1 | CFU/mL |
| St Pauls - B. Kris House | 17/03/2017 8:44 | POTABLE | 16/03/2017 11:01 | Coliforms | E. coli | 474599 | <1 | CFU/100mL |
| St Pauls - Community Police | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:18 | Coliforms | E. coli | 441244 | <1 | CFU/100mL |
| St Pauls - Community Police | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:18 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441244 | <1 | CFU/mL |
| St Pauls - Community Police | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:07 | Coliforms | E. coli | 449331 | <1 | CFU/100mL |
| St Pauls - Community Police | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:07 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449331 | <1 | CFU/mL |
| St Pauls - Full Gospel Church drinking tap | 27/07/2016 7:42 | POTABLE | 26/07/2016 9:53 | Coliforms | E. coli | 401438 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 27/07/2016 7:42 | POTABLE | 26/07/2016 9:53 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401438 | 2 | CFU/mL |
| St Pauls - Full Gospel Church drinking tap | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:41 | Coliforms | E. coli | 401428 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:41 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401428 | 1 | CFU/mL |
| St Pauls - Full Gospel Church drinking tap | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Coliforms | E. coli | 430643 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430643 | 4 | CFU/mL |
| St Pauls - Full Gospel Church drinking tap | 17/03/2017 8:44 | POTABLE | 16/03/2017 11:05 | Coliforms | E. coli | 474595 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:22 | Coliforms | E. coli | 441246 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:22 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441246 | <1 | CFU/mL |
| St Pauls - Full Gospel Church drinking tap | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:13 | Coliforms | E. coli | 449333 | <1 | CFU/100mL |
| St Pauls - Full Gospel Church drinking tap | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:13 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449333 | <1 | CFU/mL |
| St Pauls - H. Mene House | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:00 | Coliforms | E. coli | 401444 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401444 | <1 | CFU/mL |
| St Pauls - H. Mene House | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:48 | Coliforms | E. coli | 401434 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:48 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401434 | <1 | CFU/mL |
| St Pauls - H. Mene House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Coliforms | E. coli | 430639 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430639 | >300 | CFU/mL |
| St Pauls - H. Mene House | 17/03/2017 8:44 | POTABLE | 16/03/2017 11:10 | Coliforms | E. coli | 474601 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:12 | Coliforms | E. coli | 441242 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:12 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441242 | <1 | CFU/mL |
| St Pauls - H. Mene House | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:01 | Coliforms | E. coli | 449329 | <1 | CFU/100mL |
| St Pauls - H. Mene House | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:01 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449329 | <1 | CFU/mL |
| St Pauls - S. Ronsens House | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:06 | Coliforms | E. coli | 441240 | <1 | CFU/100mL |
| St Pauls - S. Ronsens House | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:06 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441240 | <1 | CFU/mL |
| St Pauls - S. Ronsens House | 9/05/2017 14:36 | POTABLE | 9/05/2017 9:53 | Coliforms | E. coli | 449327 | <1 | CFU/100mL |
| St Pauls - S. Ronsens House | 9/05/2017 14:36 | POTABLE | 9/05/2017 9:53 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449327 | <1 | CFU/mL |
| St Pauls - School Drinking Tap | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:11 | Coliforms | E. coli | 401440 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:11 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401440 | <1 | CFU/mL |
| St Pauls - School Drinking Tap | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:54 | Coliforms | E. coli | 401430 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 14/09/2016 14:40 | POTABLE | 13/09/2016 10:54 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401430 | <1 | CFU/mL |
| St Pauls - School Drinking Tap | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Coliforms | E. coli | 430645 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430645 | 4 | CFU/mL |
| St Pauls - School Drinking Tap | 17/03/2017 8:44 | POTABLE | 16/03/2017 11:13 | Coliforms | E. coli | 474597 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:25 | Coliforms | E. coli | 441248 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 28/04/2017 9:24 | POTABLE | 27/04/2017 10:25 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441248 | <1 | CFU/mL |
| St Pauls - School Drinking Tap | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:17 | Coliforms | E. coli | 449335 | <1 | CFU/100mL |
| St Pauls - School Drinking Tap | 9/05/2017 14:36 | POTABLE | 9/05/2017 10:17 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449335 | <1 | CFU/mL |
| St Pauls - V. Joseph"s House | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:20 | Coliforms | E. coli | 401446 | <1 | CFU/100mL |
| St Pauls - V. Joseph"s House | 27/07/2016 7:42 | POTABLE | 26/07/2016 10:20 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401446 | <1 | CFU/mL |
| St Pauls - V. Joseph"s House | 14/09/2016 14:40 | POTABLE | 13/09/2016 11:03 | Coliforms | E. coli | 401436 | <1 | CFU/100mL |
| St Pauls - V. Joseph"s House | 14/09/2016 14:40 | POTABLE | 13/09/2016 11:03 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 401436 | <1 | CFU/mL |
| St Pauls - V. Joseph"s House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Coliforms | E. coli | 430641 | <1 | CFU/100mL |
| St Pauls - V. Joseph"s House | 10/01/2017 8:29 | POTABLE | 10/01/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 430641 | 2 | CFU/mL |
| St Pauls - V. Joseph"s House | 17/03/2017 8:44 | POTABLE | 16/03/2017 11:24 | Coliforms | E. coli | 474603 | N/A | CFU/100mL |
| Treatment Plant | 20/10/2016 15:37 | POTABLE | 20/10/2016 9:15 | Coliforms | E. coli | 435027 | <1 | CFU/100mL |
| Ugar - Bore 2 Raw Water | 21/09/2016 14:49 | GROUNDWATER | 20/09/2016 0:00 | Coliforms | E. coli | 426685 | <1 | CFU/100mL |
| Ugar - Bore 2 Raw Water | 21/09/2016 14:49 | GROUNDWATER | 20/09/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 426685 | >3000 | CFU/mL |
| Ugar - Council Hall | 18/08/2016 13:37 | POTABLE | 17/08/2016 23:43 | Coliforms | E. coli | 375258 | <1 | CFU/100mL |
| Ugar - Council Hall | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:59 | Coliforms | E. coli | 280261 | <1 | CFU/100mL |
| Ugar - Council Hall | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:59 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280261 | <1 | CFU/mL |
| Ugar - Front Beach | 18/08/2016 13:37 | POTABLE | 17/08/2016 23:32 | Coliforms | E. coli | 375260 | <1 | CFU/100mL |
| Ugar - Front Beach | 21/09/2016 14:49 | POTABLE | 20/09/2016 0:00 | Coliforms | E. coli | 426688 | <1 | CFU/100mL |
| Ugar - Front Beach | 21/09/2016 14:49 | POTABLE | 20/09/2016 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 426688 | 1 | CFU/mL |
| Ugar - Front Beach | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:30 | Coliforms | E. coli | 280262 | <1 | CFU/100mL |
| Ugar - Front Beach | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280262 | <1 | CFU/mL |
| Ugar - Native Beach | 18/08/2016 13:37 | POTABLE | 17/08/2016 23:51 | Coliforms | E. coli | 375262 | <1 | CFU/100mL |
| Ugar - Native Beach | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:40 | Coliforms | E. coli | 280263 | <1 | CFU/100mL |
| Ugar - Native Beach | 12/10/2016 7:44 | POTABLE | 11/10/2016 10:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 280263 | 2 | CFU/mL |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Anions - Fluoride | Fluoride | 375264 | 0.02 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 375264 | 1100 | µS/cm |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | EC, pH, Alkalinity, Turbidity, VFA | pH | 375264 | 6.6 | nil |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 375264 | 41 | mg CaCO3 / L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 375264 | 0.8 | NTU |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Colour | Apparent Colour | 375264 | 4.3 | Pt/Co units |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | ICPOES Iron | 375265 | 0.449 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | ICPOES Manganese | 375265 | 3.13 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | ICPOES Silicon | 375265 | 51 | mg/ L SiO2 |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | Calcium | 375265 | 45 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | Magnesium | 375265 | 39 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | Potassium | 375265 | 5.1 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | Sodium | 375265 | 90 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | ICPOES Metals - Total | Total Hardness | 375265 | 270 | mg CaCO3 / L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Anions | Sulphate | 375266 | 34 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Anions | Chloride | 375266 | 300 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 375266 | 580 | mg/L |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Colour | Apparent Colour | 375266 | 78 | Pt/Co units |
| Ugar - Water Treatment Plant | 18/08/2016 13:37 | POTABLE | 17/08/2016 12:02 | Colour | True Colour | 375266 | 1.6 | Pt/Co units |
| Ugar - Water Treatment Plant | 21/09/2016 14:49 | POTABLE | 20/09/2016 0:00 | ICPMS Metals - Total | ICPMS Iron | 426687 | 0.082 | mg/L |
| Ugar - Water Treatment Plant | 21/09/2016 14:49 | POTABLE | 20/09/2016 0:00 | ICPMS Metals - Total | ICPMS Manganese | 426687 | 0.25 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | Anions | Sulphate | 280264 | 33 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | Anions | Chloride | 280264 | 330 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | Colour | Apparent Colour | 280264 | <1 | Pt/Co units |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | Anions - Fluoride | Fluoride | 280264 | 0.02 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | EC, pH, Alkalinity, Turbidity, VFA | Electrical Conductance | 280264 | 1100 | µS/cm |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | EC, pH, Alkalinity, Turbidity, VFA | pH | 280264 | 6.7 | nil |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | EC, pH, Alkalinity, Turbidity, VFA | Total Alkalinity | 280264 | 49 | mg CaCO3 / L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | EC, pH, Alkalinity, Turbidity, VFA | Turbidity | 280264 | 0.1 | NTU |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | Total Dissolved Salts (calc) | Total Dissolved Salts (calc) | 280264 | 630 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | ICPOES Iron | 280265 | <0.020 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | ICPOES Manganese | 280265 | <0.010 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | ICPOES Silicon | 280265 | 50 | mg/ L SiO2 |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | Calcium | 280265 | 47 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | Magnesium | 280265 | 39 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | Potassium | 280265 | 5.4 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | Sodium | 280265 | 93 | mg/L |
| Ugar - Water Treatment Plant | 12/10/2016 7:44 | POTABLE | 11/10/2016 11:17 | ICPOES Metals - Total | Total Hardness | 280265 | 280 | mg CaCO3 / L |
| Warraber - Jensen Pearson | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Coliforms | E. coli | 449177 | <1 | CFU/100mL |
| Warraber - Jensen Pearson | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449177 | 94 | CFU/mL |
| Warraber - Jensen Pearson | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:30 | Coliforms | E. coli | 441134 | <1 | CFU/100mL |
| Warraber - Jensen Pearson | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:30 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441134 | 1 | CFU/mL |
| Warraber - Jensen Pearson | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:49 | Coliforms | E. coli | 405880 | <1 | CFU/100mL |
| Warraber - Jensen Pearson | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:49 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405880 | <1 | CFU/mL |
| Warraber - Reservoir | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Coliforms | E. coli | 449183 | <1 | CFU/100mL |
| Warraber - Reservoir | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449183 | >300 | CFU/mL |
| Warraber - Reservoir | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:56 | Coliforms | E. coli | 441140 | <1 | CFU/100mL |
| Warraber - Reservoir | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:56 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441140 | >300 | CFU/mL |
| Warraber - Reservoir | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:45 | Coliforms | E. coli | 405886 | <1 | CFU/100mL |
| Warraber - Reservoir | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:45 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405886 | 1 | CFU/mL |
| Warraber - Treatment Plant | 16/03/2017 8:25 | POTABLE | 15/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 474034 | 78 | CFU/mL |
| Warraber - Treatment Plant | 16/03/2017 8:25 | POTABLE | 15/03/2017 0:00 | Coliforms | E. coli | 474034 | est 1 | CFU/100mL |
| Warraber - Wharf | 16/03/2017 8:23 | POTABLE | 15/03/2017 0:00 | Coliforms | E. coli | 449179 | <1 | CFU/100mL |
| Warraber - Wharf | 16/03/2017 8:23 | POTABLE | 15/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449179 | 140 | CFU/mL |
| Warraber - Wharf | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:35 | Coliforms | E. coli | 441136 | <1 | CFU/100mL |
| Warraber - Wharf | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:35 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441136 | >300 | CFU/mL |
| Warraber - Wharf | 5/05/2017 9:06 | POTABLE | 4/05/2017 8:05 | Coliforms | E. coli | 405882 | <1 | CFU/100mL |
| Warraber - Wharf | 5/05/2017 9:06 | POTABLE | 4/05/2017 8:05 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405882 | 11 | CFU/mL |
| Warraber - William Pearson | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Coliforms | E. coli | 449181 | <1 | CFU/100mL |
| Warraber - William Pearson | 16/03/2017 8:20 | POTABLE | 15/03/2017 0:00 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 449181 | 200 | CFU/mL |
| Warraber - William Pearson | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:40 | Coliforms | E. coli | 441138 | <1 | CFU/100mL |
| Warraber - William Pearson | 28/04/2017 9:27 | POTABLE | 27/04/2017 7:40 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 441138 | >300 | CFU/mL |
| Warraber - William Pearson | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:56 | Coliforms | E. coli | 405884 | <1 | CFU/100mL |
| Warraber - William Pearson | 5/05/2017 9:06 | POTABLE | 4/05/2017 7:56 | Heterotrophic Plate Count (2) | Heterotrophic Plate Count | 405884 | <1 | CFU/mL |

# Customer Complaints Received 2016-17

A customer complaint process is currently not in place. Divisional Engineering Officers (DEO) receives the complaint directly with the community and currently have no method for capturing or handing on this information. During 2017/18 a method for starting to try and capture customer complaints will begin to be developed. This will be difficult and take some time to receive robust data.

Table 4: Customer Complaints

|  |  |  |  |
| --- | --- | --- | --- |
| Scheme Name | No. Customer Complaints | Main Reason for Complaint | Response to Complaints |
| Boigu | NA | NA | NA |
| Saibai | NA | NA | NA |
| Dauan | NA | NA | NA |
| Ugar | NA | NA | NA |
| Erub | NA | NA | NA |
| Mer | NA | NA | NA |
| Masig | NA | NA | NA |
| Iama | NA | NA | NA |
| Poruma | NA | NA | NA |
| Warraber | NA | NA | NA |
| Mabuiag | NA | NA | NA |
| St Pauls | NA | NA | NA |
| Kubin | NA | NA | NA |
| Badu | NA | NA | NA |
| Kirriri | NA | NA | NA |